Appendix G

National Type Evaluation Program (NTEP)
Multiple Dimension Measuring Device (MDMD)
Work Group Meeting Summary

April 26 - 27, 2016

Reynoldsburg, Ohio

Item 5200-2

SCHEDULE	3

i.	Introduction and Welcome (R. Kennington)	3

ii.	Reiteration of NTEP MDMD Work Group Mission (D. Flocken)	3

iii.	Goal of this Meeting (D. Flocken)	3

iv.	Report – 2016 NCWM Interim Meeting (D. Flocken)	3

v.	Report – Recent Measurement Canada Type Evaluation Activity (P. Turgeon)	3

vi.	Report - Recent NTEP MDMD Type Evaluation Activity (T. Buck)	3

Introduction and Welcome	4

Carryover Items	4

1.	Review meeting summary from September 2015 meeting.	4

2.	Review changes to NIST Handbook 44, MDMD code since last meeting.	4

3.	Review changes to NCWM Publication 14, MDMD Checklist.	4

4.	Review changes to Measurement Canada MDMD Code and Terms and Conditions	4

5.	Review update to NTEP/MC Requirements Comparison Document.	4

6.	Publication 14, MDMD Checklist	4

7.	Review results of the NTEP/MC Mutual Recognition Agreement discussion at the 2016 NCWM 
Interim meeting.	4

8.	Report on progress from multi-interval operation requirements subgroup.	5

9.	Develop Form 15s identified in Requirements Comparison Document.	5

New Items	6

10.	The impact of MDMD Specifications and tolerances on the LTL trucking business and their use of such devices.	6

11.	Discussion on OIML Testing Capability.	6

Closing Discussion	6

12.	Review meeting activities and conclusions.	6

13.	Define next steps (if needed).	6

14.	Chairman’s discussion.	6

15.	Next meeting	7

APPENDICES

A	Form 15:  Proposal to Amend NIST Handbooks, Bylaws or NTEP Administrative Policy:  
S.17.7 Minimum Measurement Lengths and S.1.8. Indications Below Minimum and Above 
Minimum	G/A1

B	NMFTA Presentation	G/B1

C	MDMD Work Group Final Attendee List	G/C1

Glossary of Acronyms and Terms

| Acronym | Term | Acronym | Term |
| --- | --- | --- | --- |
| NIST | National Institute of Standards and Technology | NTEP | National Type Evaluation Program |
| MDMD | Multiple Dimension Measuring Device | OIML | International Organization of Legal Metrology |
| MC | Measurement Canada | OWM | Office of Weights and Measures |
| MRA | Mutual Recognition Arrangement | R | Recommendation |
| NCWM | National Conference on Weights and Measures | WG | Work Group |

# SCHEDULE

## Introduction and Welcome (R. Kennington)

## Reiteration of NTEP MDMD Work Group Mission (D. Flocken)

Discussion:

Darrell Flocken (NTEP) reviewed the mission of the MDMD WG as stated during the October 2014 and May 2015 WG meeting for the benefit of all participants.  The mission of the WG is to deal with specific issues concerning MDMDs; that is, to consider the requirements in NIST Handbook 44 (HB44) and make sure NTEP has a type evaluation checklist in place to verify compliance with HB44 and influence factor testing.

## Goal of this Meeting (D. Flocken)

Discussion:

The goal for this meeting is to review and update both the Measurement Canada (MC)/NTEP Specification Comparisons document and the NCWM Publication 14 Checklist.  In addition, the WG should take this opportunity to discuss any new items brought to the WG’s attention.

## Report – 2016 NCWM Interim Meeting (D. Flocken)

Discussion:

Mr. Darrell Flocken reported that all three proposals submitted from the WG’s September 2015 meeting were on the NCWM Specifications and Tolerance Committee agenda for this meeting.  Mr. Flocken reported there was a suggestion heard during the open hearings on the proposal permitting some required marks to be available on a separate document if the device is too small to accommodate them.  While the comments were not in opposition to the proposal, a suggestion was made for consideration be given to requiring the serial number of the device also be included on the accompanying document.  It was mentioned this requirement was already in place for load cells.  As no strong opposition to the three proposals were heard during the open hearings, the Specifications and Tolerance Committee recommended that all three proposals remain as presented and be given Voting status for the July 2016 NCWM Annual Meeting.

## Report – Recent Measurement Canada Type Evaluation Activity (P. Turgeon)

Discussion:

Mr. Pascal Turgeon report there has been no type evaluation activity since the September 2015 WG Meeting.  Mr. Turgeon did take the opportunity to report several changes in personnel have occurred in the Measurement Canada Laboratory.  Ms. Isabelle Trembley and Mr. Justin Rea have both moved to other positions within Measurement Canada.

## Report - Recent NTEP MDMD Type Evaluation Activity (T. Buck)

Discussion:

Mr. Tom Buck reported the Ohio NTEP Laboratory had received seven evaluation assignments; four assignments were for new devises, and three assignments were for revisions to existing certificates.

# Introduction and Welcome

# Carryover Items

Review meeting summary from September 2015 meeting.

Discussion:

Chairman Kennington asked if there were any changes or additions to the September 2016 Meeting Summary hearing now, he asked for the adoption of the summary.  The meeting summary was adopted by unanimous vote.

Review changes to NIST Handbook 44, MDMD code since last meeting.

Discussion:

No changes to NIST Handbook 44 have been made since the WG’s September 2015 meeting.  It was reported the three proposals submitted from the September 2015 WG meeting were on the National S&T’s Committee Report with a Voting status for the up coming July 2016 NCWM Annual Meeting.

Review changes to NCWM Publication 14, MDMD Checklist.

Discussion:

Mr. D. Flocken reported there has been no changes to the Checklist reviewed and adopted by the WG during their September 2015 meeting.  He also reported the Checklist was adopted by the NTEP Committee and is published in the 2016 edition of Publication 14.

Review changes to Measurement Canada MDMD Code and Terms and Conditions

Discussion:

Mr. P. Turgeon reported no changes to the Canadian MDMD Code have occurred since the WG’s September 2015 meeting.

Review update to NTEP/MC Requirements Comparison Document.

Discussion:

Mr. D. Flocken reported on the status of the WG’s Comparison Document.  No changes have been made to the document since the WG’s September 2015 Meeting.

Publication 14, MDMD Checklist

Discussion:

It was agreed no changes to the Checklist are required at this time.  The WG will review possible changes during their next meeting.

Review results of the NTEP/MC Mutual Recognition Agreement discussion at the 2016 NCWM Interim meeting.

Discussion:

Mr. D. Flocken reported at the request of Measurement Canada, the proposal of adding MDMD devices to the NTEP/Measurement Canada Mutual Recognition Agreement document be Withdrawn.  The request was made based on comments heard during the NCWM 2016 Interim Meeting.  MC felt there was not enough support for the addition.  The NCWM NTEP Committee removed the item from their agenda and suggested that if necessary, members of industry can reintroduce the proposal at a later date.

Report on progress from multi-interval operation requirements subgroup.

Discussion:

Mr. Rick Harshman (NIST, OWM) provided an update on the progress of three NCWM Form 15 proposals that had been submitted by the MDMD WG to the NCWM in 2015, one of which, was developed by a small subgroup of the MDMD WG formed to address multi-interval MDMDs.  Mr. Harshman reviewed the intended purpose of each proposal and noted each had been submitted to the four regional weights and measures associations early enough in 2015 to be considered by each of those regions when they met for their fall meeting.  Having been accepted by at least one region, the proposals were then added to the 2016 S&T Committee’s agenda and given consideration at the 2016 NCWM Interim Meeting.  The proposals appear on the 2016 S&T Committee’s agenda as Items 358-1, 358-2, and 358-3.  The Committee received many comments in favor of the proposals at the Interim Meeting, which prompted the Committee to assign a Voting status to each proposal.  Each proposal will be voted on at the upcoming 2016 NCWM Annual Meeting in July.

Mr. Harshman noted that OWM’s Legal Metrology Devices Program had earlier expressed concern in comments to the S&T Committee regarding the proposal (i.e., the Item 358-2 proposal) to allow some marking information to appear on an accompanying document rather than be marked on the device as is currently required by the MDMD Code in NIST HB 44.  OWM’s concern was the proposal didn’t require the serial number of the device to appear on the accompanying document to link the two together, as is required on accompanying documents for load cells in the Scales Code of HB 44.  Mr. Harshman also questioned how officials performing a test on an MDMD could immediately tell the value of the measuring division for each axis and range and the minimum and maximum dimensions for each axis if this information doesn’t appear on the device.  He further noted officials need this information to determine tolerances and to ensure that tests are within the operational parameters set by the manufacturer.

With respect to S&T Item 358-2, Mr. Scott Henry (Zebra Technologies) noted the information proposed for inclusion on the accompanying document can be accessed from a menu on the devices offered by Zebra Technologies, and instructions for accessing the information could be made available on the NTEP CC.  It was also reported the value of the measuring division for each axis and range on equipment in which this proposal was intended to apply is fixed and not configurable.

Develop Form 15s identified in Requirements Comparison Document.

Discussion:

The WG reviewed the remaining “open” items and agreed that two changes to HB 44 would have value.  The items were:

- The expansion of S.1.7. to include multi-interval devices with the additional proposed changes provides a better explanation of how to apply the 12 d minimum measurement specification and the application of tare with respect to marked maximum dimension for the axes in which tare was applied, and

- the change in the use of the word “length” to “measurement.”

A Form 15 (Appendix A) was developed during the WG meeting and was submitted to the NCWM the following week.  A copy of the submitted document is included at the end of this summary document.

# New Items

The impact of MDMD Specifications and tolerances on the LTL trucking business and their use of such devices.

Discussion:

Mr. Don Newell presented an overview of the LTL (Less Then Truckload) trucking business.  A copy of Mr. Newell’s presentation is included in the distribution of this meeting summary and is provided in Appendix B of this report.

Mr Newell spoke of some of the challenges that LTL trucking companies face when assessing freight charges.  Many of the pallets are not uniform and can be difficult to measure.  Some are too large to be moved around with a fork lift.  Traditional methods of charging by commodity code can have its own challenges.  He asked manufacturers of MDMD equipment to consider these realities as they design pallet MDMDs.

Density is one of four factors used by some LTL trucking companies to establish freight class.  It is the number one component in determining freight charges.  The other three factors are stowing ability, handling, and liability.  Density is a ratio of the weight of a product to be shipped divided by its volume in cubic feet (i.e., lb/ft3).  Generally speaking, the higher the density, the lower the price to ship.

Discussion on OIML Testing Capability.

Source:

H. Sprague Ackley, Honeywell

Background/Discussion:

In previous meetings, Measurement Canada and Ohio Laboratories have indicated they are looking into what it would take to be able to perform an OIML certification.  Mr. Ackley offered to lead a discussion to see whether there is something the MDMD Work Group could do to support this direction.

# Closing Discussion

Review meeting activities and conclusions.

Nothing to report.

Define next steps (if needed).

Discussion:

The WG agreed that no specific actions are needed from this meeting.  The WG will monitor the three existing and one new proposal and will address their outcome at the next meeting.

Chairman’s discussion.

Discussion:

Chairman Kennington took this opportunity to comment that he has chaired the WG for close to ten years and expressed interest in resigning from the position.  He opened the discussion to others who would be interested in moving into the chair position.  No one openly volunteered and the discussion was closed.  Mr. D. Flocken and Mr. R. Harshman both commented the WG needs to become more self-operating in that the members should consider appointing document responsibility to WG members.

Next meeting

Discussion:

While the last four meetings were held on a semi-annual basis the WG agreed our assigned tasks have been completed and the meeting schedule could return to an annual basis.  The WG agreed to have the next meeting on Tuesday and Wednesday, May 2 - 3, 2017.  Once again, the Ohio NTEP Laboratory agreed to host the meeting at their location.

THIS PAGE INTENTIONALLY LEFT BLANK

Appendix A
Form 15:  Proposal to Amend NIST Handbooks, Bylaws or NTEP Administrative Policy

Proposal to Amend:  S.1.7. Minimum Measurement Lengths and

S.1.8. Indications Below Minimum and Above Maximum.

THIS PAGE INTENTIONALLY LEFT BLANK

Appendix B
NMFTA Presentation

Appendix C
MDMD Work Group Final Attendee List

April 26 –28, 2016
Reynoldsburg, Ohio

Sprague Ackley

Honeywell

16201 25th Avenue W

Lynnwood, WA 98087

PHONE:  (425) 501-8995

E-MAIL:  hsprague.ackley@honeywell.com

Tom Buck

Ohio Department of Agriculture Weights and Measures

8995 East Main Street

Reynoldsburg, OH 43068

PHONE:  (614) 728-6290

FAX:  (614) 728-6424

E-MAIL:  tom.buck@agri.ohio.gov

Bill Danderand

FedEx Freight

1651 S Wright Blvd

Schaumburg, IL 60193

PHONE:  (630) 347-7745

E-MAIL:  william.danderand@fedex.com

Scott Davidson Mettler-Toledo, LLC

1150 Dearborn Drive

Worthington, OH 43085

PHONE:  (614) 438-4387

FAX:  (614) 438-4355

E-MAIL:  scott.davidson@mt.com

Fran Elson-Houston

Ohio Department of Agriculture Weights and Measures

8995 East Main Street

Reynoldsburg, OH 43068

PHONE:  (614) 728-6418

FAX:  (614) 728-6424

E-MAIL:  fran.elson-houston@agri.ohio.gov

James Faas

YRC Freight

10990 Ore Avenue

Overland Park, KS 66211

PHONE:  (813) 376-6435

E-MAIL:  james.faas@yrcfreight.com

Jeff Fantozzi

Erie County Auditors Office

247 Columbus Avenue, #210

Sandusky, OH 44870

PHONE:  (419) 627-7745

FAX:  (419) 627-7740

E-MAIL:  jfantozzi@eriecounty.oh.gov

Darrell Flocken

National Conference on Weights and Measures 1135 M Street, Suite 110

Lincoln, NE 68508

PHONE:  (614) 620-6134

FAX:  (402) 434-4878

E-MAIL:  darrell.flocken@ncwm.net

Justin Harper

AOA Xinetics/NGC

10 Wilson Road

Cambridge, MA 02138

PHONE:  (617) 806-1884

E-MAIL: justin.harper@ngc.com

Rick Harshman

NIST, Office of Weights and Measures

100 Bureau Drive, MS 2600

Gaithersburg, MD 20899

PHONE:  (301) 975-8107

E-MAIL:  richard.harshman@nist.gov

Scott Henry

Zebra Technologies

809 Ashland Falls Drive

Monroe, GA 30656

PHONE:  (770) 466-3658

E-MAIL:  scott.henry@zebra.com

Jason Joachim

Cargo Spectre

2222 N Wayside Drive

Houston, TX 77020

Michael Kelley

Ohio Department of Agriculture Weights and Measures

8995 East Main Street

Reynoldsburg, OH 43068

PHONE:  (614) 728-6290

FAX:  (614) 728-6424

E-MAIL:  mike.kelley@agri.ohio.gov

Robert Kennington

Quantronix, Inc.

380 South 200 W

P.O. Box 929

Farmington, UT 84025

PHONE:  (801) 451-7000

E-MAIL:  rkennington@cubiscan.com

Joe Morrison

Ohio Department of Agriculture Weights and Measures

8995 East Main Street

Reynoldsburg, OH 43068

PHONE:  (614) 728-6290

FAX:  (614) 728-6424

E-MAIL:  jmorrison@agri.ohio.gov

Scott Murchison

Zebra Technologies

84 Hines Road, Suite 180

Kanata, ON K2K 3G3 Canada

PHONE:  (613) 592-2592 x4507

E-MAIL:  scott.murchison@zebra.com

Don Newell

NMFTA

1001 North Fairfax Street, Suite 600

Alexandria, VA 22314

PHONE:  (703) 838-1890

E-MAIL:  newell@nmfta.org

Weston Privett

XPO LTL

4195 East Central Avenue

Fresno, CA 93725

PHONE:  (559) 367-7599

E-MAIL:  weston.privett@xpo.com

Tony Romeo

Datalogic Automation, Inc.

511 School House Road

Telford, PA 18969

PHONE:  (215) 721-5113

E-MAIL:  anthony.romeo@datalogic.com

Chris Senneff

Rice Lake Weighing Systems

230 W Coleman Street

Rice Lake, WI 54868

PHONE:  (715) 434-5175

FAX:  (715) 234-6967

E-MAIL:  csenneff@ricelake.com

Michael Stutler

United Parcel Services

55 Glenlake Parkway, Bldg. 1, Floor 7

Atlanta, GA 30328

PHONE:  (404) 828-7282

E-MAIL:  mstutler@ups.com

Richard Suiter

Richard Suiter Consulting

9819 N Anchor Bend

McCordsville, IN 46055

PHONE:  (317) 336-9819

E-MAIL:  Rsuiter700@aol.com

Pascal Turgeon

Measurement Canada

151 Tunney’s Pasture Driveway

Ottawa, ON K1A 0C9

PHONE:  (613) 952-0636

E-MAIL:  pascal.turgeon@canada.ca

Russ Vires

Mettler-Toledo, LLC

1150 Dearborn Drive

Worthington, OH 43085

PHONE:  (614) 438-4306

FAX:  (614) 438-4355

E-MAIL:  russ.vires@mt.com

Scott Wigginton

United Parcel Services

55 Glenlake Parkway, Cube 17460

Atlanta, GA 30328

PHONE:  (404) 828-8173

E-MAIL:  swigginton@ups.com