## Software Technical Assessment
Software Technical Assessment
Software Description | WAQCF-024 (Rev. 00), Volumne Control Chart.xlt | Approval Date | 2010-08-31
Assessed By | Dan Wright | Approved By | Dan Wright
Codes | Assessment | Pass/Fail | Evidence
A. Software Inspection | Spreadsheet is clear and makes sense | Pass | Very well laid out
| There are instructions for use | Pass | Instruction worksheet
| Instructions and data input appear on the visible portion of the first worksheet | Pass | Clearly marked worksheets for instructions and data input
| Data-entry fields are labeled and color coded (it is recommended to avoid red and green) | Pass | Light yellow for blank data entry cells, light blue for non-blank data entry cells
| The Standard Operating Procedure (SOP) used is clearly specified | Pass | Chart Procedure (SOP 9, 17, & 20) and Measurement Procedure are both specified
| The number of digits to be rounded to is specified | N/A | No rounding
| The user is warned/notified whenever data-entry fields are left blank | Pass | Visual, blank data-entry cells are color coded
| Data-entry fields are “blank” when opened, preventing loss of old data and ensuring that old data is not used with the current calculations | Pass | Data entry cells are blank on the template, except percent of tolerance which has a default of 100%
| The software opens at the right location within the file | Pass | Opens to the instruction worksheet
| Unused fields/cells are locked | Pass | All unused cells are locked
| Rows/columns that the operator need not see are hidden | Pass | Yes
| Unused sheets are removed | Pass | Yes
| Worksheets are named appropriately | Pass | Yes
B. Mathematical Specification | The correct SOP is used | Pass | SOP 9, 17, & 20 and appropriate measurement SOP
| The formulae and methods chosen from that SOP are specified | Pass | Explained on Instructions worksheet
| Sources and references for formulae are specified | Pass | Yes
| The chosen SOP, its methods, and its formulae, are appropriate to the level of precision/uncertainty | N/A
C. Code review | The formulae in the fields exactly match the SOP | Pass | Upper / Lower control limits
| Repeated calculations appropriately reference the correct cells | Pass | Uses absolute cell references
| Calculations, when tested using standard data or reference test data, show appropriate accuracy | N/A
| Rounding is done at the appropriate locations in the file | N/A | No rounding
D. Numerical Stability | Calculations are stable as determined by an evaluation that uses large numbers and small differences | N/A
| Fields, therefore their content, are categorized as “Number” and not “General” when appropriate, and vice versa | N/A
| “Number” cells are locked to a limited number of decimal places; this limit is appropriate to the values being used | N/A
E. Component Testing | Each macro used is functional | N/A | No macros
| Each command/button is functional | N/A | No command buttons
| Combinations of interdependent macros are functional | N/A
| Plotted graphs are accurate | Pass | Charts depict correct information
| Worksheets/reports print properly, if needed to | Pass | All worksheets and charts are formated for printing
| Conditional (color and non-color) formatting is functional | Pass | For blank and nonblank cells
F. Numerical Reference | Look-up tables and lists match the latest calibration report | Pass | Standards workbook is validated to latest calibration reports and Mass Tolerances workbook is validated to latest references
| Uncertainties match the latest Scope | N/A
| Values that reference another workbook or spreadsheet are dated | N/A
| When a master list’s date is updated, the file references (A) an old value, (B) a default value, (C) displays zero or (D) an error message, as desired by the user | N/A
G. Embedded Data Evaluation | Embedded data (conversion factors, reference values, etc) is correct | N/A | No embedded data
| The evaluation of the embedded data is dated and documented | N/A
H. Back-to-Back Testing | Newer spreadsheets and older spreadsheets agree down to the level of intermediate calculations; this evaluation is dated and documented | N/A
I. Analysis With Out Computer Assistance | Hand calculations agree with those generated by the spreadsheet, or if they disagree, the differences are significantly smaller than the reported uncertainty | Pass | Basic arithmetic calculations
J. Security | Equation and calculation cells are protected against inadvertent editing | Pass | Locked and password protected
| Cells are locked in place; they cannot be moved/dragged | Pass | Locked and password protected
| Confidentiality of passwords is appropriate | Pass | Password hint in instructions
| Files are backed up automatically | Pass | Manual backup
| Additional back-up is available at alternate facilities | Pass | Backed-up to agency network drives
| Files on network drives cannot be accidentally deleted | Pass

## Documentation
Documentation
Date | Description | Initials
2010-08-31 | Developed by Dan Wright, State Metrologist, Washington Metrology Laboratory | DAW
2010-08-31 | Validated workbook, file name 'WA2010-08-31 WAQCF-024 (Rev. 00), Volume Control Chart Workbook V&V'.pdf on Laboratory Computer C:\ drive and Agency Server H:\ drive and a paper copy in laboratory files. | DAW

## Instructions
Instructions
No. | Description
1 | Enter requested information in the light yellow cells rows 1 through 11 on the Data Entry worksheet.
2 | Enter data from your measurements in the light yellow cells in rows 15 down column A through K. After entering data highlight columns L through AG on the row above the one your entering data and copy down.
3 | Place the cursor in column A where it states Insert Row Here and insert a row. This will be the next row you will enter new data.
4 | Modify the 'Percent of Tolerance for Control Chart' to adjust the limits just outside the UCL and LCL on the X-Chart. This gives a better visual of your data points.
5 | Modify horizontal chart axis on the temperature and humidity charts to match the requirements.
6 | Do not change the formulas in M1 through M11, these are used for the control chart titles.
7 | Password protected (change to your own. Current password: password
8 | R-Chart 1 is based on technique described in NIST HB 6969, Section 8.3, Estimation of Standard Deviation from the Average Range of Several Sets of Measurements.
9 | R-Chart 2 is based on technique described in NIST HB 6969, Section 8.4, Pooling Estimates of Standard Deviations, based on standard deviation of the trials.
10 | Name files as follows; Volume, Method, (Chk ID if used), SOP, e.g., 5 gal, Volume Transfer, (V04), SOP 19.
Range Names
Name | Range
ChartUnit | ='Data Entry'!$D$12
ChkID | ='Data Entry'!$J$7
Method | ='Data Entry'!$C$4
NomVal | ='Data Entry'!$C$3
NomVal.Table | ='Tolerance Lookup'!$C$2:$D$9
NomValUnit | ='Data Entry'!$D$3
Print_Titles | =Instructions!$1:$2
RefTemp | ='Data Entry'!$C$8
RefTempUnit | ='Data Entry'!$D$8
Spec | ='Data Entry'!$C$9
Spec.list | ='Tolerance Lookup'!$A$2:$A$12
Table_9.1 | ='Table 9.1'!$A$2:$B$32
TypeCal | ='Data Entry'!$D$4
VolUnit.list | ='Tolerance Lookup'!$C$2:$C$9

## Data Entry
Laboratory: |  | Washington | [5 empty] | Pooled s(p) of the Trials = | 0.11464 |  |  | Do Not Delete, Used for Chart Titles and Legends
Vessel Type: |  | Volumetric Flask | [5 empty] | R-Mean = | 0.15063 |  |  | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask (V05) Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver NIST HB 105-2 Tolerance = 1.2 mL | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask (V05) Measurement Procedure: SOP 14 NIST HB 105-2 Tolerance = 1.2 mL | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask (V05) Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver NIST HB 105-2 Tolerance = 1.2 mL | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask Measurement Procedure: SOP 14 NIST HB 105-2 Tolerance = 1.2 mL | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver NIST HB 105-2 Tolerance = 1.2 mL
Nominal Value: |  | 1 | gal |  |  |  |  | Number of Duplicate Sets = | 3 |  |  | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask (V05) Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver NIST HB 105-2 Tolerance = 1.2 mL | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask (V05) Measurement Procedure: SOP 14 NIST HB 105-2 Tolerance = 1.2 mL | Washington ● Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask (V05) Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver NIST HB 105-2 Tolerance = 1.2 mL | Washington Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask Measurement Procedure: SOP 14 NIST HB 105-2 Tolerance = 1.2 mL | Washington Volume Gravimetric ● R-Chart (SOP 17 & SOP 20) Duplicate Measurements With 1 gal Volumetric Flask Balance: Sartorius CC30002 • Measurement Procedure: SOP 14 To Deliver NIST HB 105-2 Tolerance = 1.2 mL
Method / Type: |  | Volume Gravimetric | To Deliver |  |  |  |  | s(p) based on Table 9.1 d*2 value = | 0.12246 |  |  | Washington ● Volume Gravimetric ● X-Chart (SOP 17) Duplicate Measurements With 1 gal Volumetric Flask (V05) Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver Standard Deviation = 0.195959 mL
Procedure: |  | SOP 14 | [9 empty] | Washington ● Volume Gravimetric ● Standard Deviation of Trials vs Humidity Duplicate Measurements With 1 gal Volumetric Flask Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver Pooled s(p) of the Trials = 0.114639 mL
Balance ID Code: |  | S4 | [5 empty] | Is this vessel a check standard? | Yes |  |  | Washington ● Volume Gravimetric ● Standard Deviation of Trials vs Temperature Duplicate Measurements With 1 gal Volumetric Flask Balance: Sartorius CC30002 ● Measurement Procedure: SOP 14 To Deliver Pooled s(p) of the Trials = 0.114639 mL
Balance Description: |  | Sartorius CC30002 | [5 empty] | Check Standard ID = | V05 |  |  | milliliters | s(p) based on Table 9.1 d*2 value = 0.12246 mL | Pooled s(p) of the Trials = 0.114639 mL
Ref. Temperature: |  | 68 | ºF |  |  |  |  | Check Standard Description = | 1 gal Flask |  |  | Check Mean ± 33 % tolerance
Specification: |  | NIST HB 105-2 | [5 empty] | Check Standard Correction (mL) = | -0.64352 |  |  | Control Limits (Chk Mean ± 3 s)
NIST HB 105-2 Tolerance (mL) = |  |  | 1.2 |  |  |  |  | Mean of Chk Std = | -0.40487 |  |  | Warning Limits (Chk Mean ± 2 s)
Percent of Tolerance for CC = |  |  | 33% |  |  |  |  | Standard Deviation = | 0.19596
Control Chart Unit: |  |  | mL |  |  |  |  | Standard Drift/Bias = | 0.23865
Tech. Initials | Date | Report Number | Volume @ 68 ºF (Trial 1) (mL) | Volume @ 68 ºF (Trial 2) (mL) | Start Humidity (% RH) | Finish Humidity (% RH) | Start Air Temp. (º C) | Finish Air Temp. (º C) | Water Temp. (Trial 1) (º C) | Water Temp. (Trial 2) (º C) | Check Observed Value | Range (Trial 2-Trial 1) | Standard Deviation of Trials | Average Humidity (% RH) | Range (%RH) | Average Air Temp. (º C) | Range (º C) | Average Water Temp. (º C) | Range (º C) | Warning Limit (2.512*R) | Control Limit (3.267*R) | s(p) based on d*2 | Pooled s(p) of Trials | LCL (mean - 3 s) | LWL (mean - 2 s) | UWL (mean + 2 s) | UCL (mean + 3 s) | Check Mean | Mean + 33 % of tol | Mean - 33 % of tol | Calibrated Value | 33 % tolerance
DW | 2005-09-12 | L2420-2i | 3784.8077 | 3785.0431 | 52.49 | 54.99 | 22.13 | 22.43 | 21.587 | 21.682 | -0.48663 | 0.2354 | 0.16645 | 53.74 | 2.5 | 22.28 | 0.3 | 21.6345 | 0.095 | 0.37837 | 0.49209 | 0.12246 | 0.11464 | -0.99275 | -0.79679 | -0.012949 | 0.18301 | -0.40487 | -0.0088674 | -0.80087 | -0.64352 | 0.396
DW | 2007-09-17 | L2650-1 | 3785.2858 | 3785.1756 | 56.62 | 57.87 | 22.17 | 22.12 | 20.1 | 20.2 | -0.18127 | 0.11021 | 0.077932 | 57.245 | 1.25 | 22.145 | 0.05 | 20.15 | 0.1 | 0.37837 | 0.49209 | 0.12246 | 0.11464 | -0.99275 | -0.79679 | -0.012949 | 0.18301 | -0.40487 | -0.0088674 | -0.80087 | -0.64352 | 0.396
DW | 2009-10-02 | L2897-2 | 3784.8122 | 3784.9184 | 44.187 | 44.087 | 22.127 | 22.354 | 22.398 | 22.4525 | -0.54671 | 0.10626 | 0.075138 | 44.137 | 0.1 | 22.2405 | 0.227 | 22.4252 | 0.0545 | 0.37837 | 0.49209 | 0.12246 | 0.11464 | -0.99275 | -0.79679 | -0.012949 | 0.18301 | -0.40487 | -0.0088674 | -0.80087 | -0.64352 | 0.396
Insert Row Here

## Table 9.1
NISTIR 6969 Table 9.1 (Table_9.1)
1 | 1.41
2 | 1.32
3 | 1.23
4 | 1.21
5 | 1.19
6 | 1.184
7 | 1.178
8 | 1.172
9 | 1.166
10 | 1.16
11 | 1.158
12 | 1.156
13 | 1.154
14 | 1.152
15 | 1.15
16 | 1.148
17 | 1.146
18 | 1.144
19 | 1.142
20 | 1.14
21 | 1.139
22 | 1.138
23 | 1.137
24 | 1.136
25 | 1.135
26 | 1.134
27 | 1.133
28 | 1.132
29 | 1.131
30 | 1.13
31 to infinity | 1.13

## Tolerance Lookup
Tolerance Lookup Table Specification List (Spec.list) | Nominal Value Lookup Table (NomVal.Table) Volume Unit List (VolUnit.list) (mL)
ASTM E 288, Class A | fl oz | 29.5735
ASTM E 288, Class A "Wide Mouth" | gi | 118.2941
ASTM E 288, Class B | gal | 3785.412
ASTM E 288, Class B "Wide Mouth" | in³ | 16.3871
ASTM E 1272, Class A | L | 1000
ASTM E 1272, Class B | mL | 1
NIST HB 105-2 | pt | 473.1765
NIST HB 105-3 | qt | 946.3529
NIST HB 105-4
OIML R 43
Tolerance Not Applicable