| 2009 Amendments |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| The following table lists the codes, paragraphs, and pages in which the 94th National Conference on Weights and Measures made amendments. In the column headed “Action,” changes are noted as “added,” “amended,” “deleted,” or “renumbered.” Each code, section, or paragraph that has been changed will be noted as “Added 2009” or “Amended 2009.” |  |  |  |  |  |
| SECTION | CODE | S&T ITEM NO. | PARAGRAPH | ACTION | PAGE |
| 2.20 | Scales | 320-2 | T.N.4.7. | Amended | 2-42 |
| 2.21 | Belt-Conveyor Scale Systems | 321-1 | UR.3.2.(c) | Amended | 2-66 |
|  |  | 321-3 | S.1.3.1. | Amended | 2-57 |
|  |  | 321-5 | N.2., N.2.1., and N.3. | Amended | 2-60, 2-61 |
|  |  | 321-6 | T.1.1. | Amended | 2-63 |
|  |  | 321-7 | N.3.1.2. | Amended | 2-62 |
|  |  |  | N.3.1.3. | Deleted, renumbered successive paragraph | 2-62 |
|  |  |  | S.3.1.1. | Added | 2-59 |
| 3.30 | Liquid-Measuring Devices | 310-3 (2007) | S.2.2.1., Note 2 | Removed S.2.2.1. Multiple Measuring Elements with a Single Provision for Sealing - this was removed according to Note 2 of same because General Code G-S.8.1. Multiple Weighing or Measuring Elements with a Single Provision for Sealing became effective with HB 44, 2010 edition. | 3-11 – 3-12 |
|  |  | 330-2 | N.4.4., N.4.4.1., and N.4.4.2. | Added | 3-18 |
|  |  | 331-2 | UR.2.5.1. | Amended | 3-41 |
|  |  |  | UR.2.5.2. | Added, renumbered existing paragraph UR.2.5.2. to UR.2.5.3. | 3-41 |
| 3.36 | Water Meters | 336-1 | S.1.1.3. and S.1.1.6. | Amended | 3-93, 3-94 |

| ## 2009 Editorial Changes |  |  |  |  |
| --- | --- | --- | --- | --- |
| SECTION | CODE | PARAGRAPH | ACTION | PAGE |
| Introduction |  | Form 15 | - Form updated to accommodate format changes for proposal submissions. | 9 |
| 1.10 | General | G-A.1.(a) | - Deleted the word “grain” in “. . . grain constituent values. . .” | 1-3 |
| 2.20 | Scales | S.1.2.1. | - Changed the title to read “Digital Indicating Scales.” to clarify the subject of the subsequent paragraph. - Deleted the word “Note:” since the language adopted in 2008 is written as an exception to the requirements in the preceding sentences. - Changed “(Note Added 2008)” to “(Amended 2008)” to indicate that S.1.2.1. was amended instead of adding a new note. | 2-8 |
|  |  | UR.2.6.1. | - Added “January 1,” that was missing in the nonretroactive date. | 2-46 |
| 2.21 | Belt-Conveyor Scale Systems | S.1.4. | - Reformatted paragraph to clarify the different subjects in the paragraph with the different nonretroactive dates. | 2-58 |
| 3.30 | Liquid-Measuring Devices | S.2.6.(b) | - Rearranged text to clarify acceptable locations for the thermometer well. | 3-13 |
|  |  | T.2 and Table T.2. | - Modified title of table and accompanying paragraphs to be consistent across measuring codes | 3-18, 3-19 |
| 3.31 | Vehicle-Tank Meters | T.2. and Table T.1. | - Modified title of table and accompanying paragraphs to be consistent across measuring codes | 3-37, 3-38 |
| 3.35 | Milk Meters | S.1.1.3. | - (a) Corrected “5 kg” to read “0.5 kg” | 3-83 |
| 3.37 | Mass Flow Meters | T.2. and Table T.2. | - Modified title of table and accompanying paragraphs to be consistent across measuring codes | 3-109 |