## Sheet1
Section | original text | ASB modification | our edits/exmplanation | Addnl explanation | 092622 WG Meeting Comments
Terms and Definitions | Contamination, Developmental validation, DNA analysis, Internal validation, Precision, Sensitivity, Validation | Developmental validation, DNA analysis, Internal validation, Validation, Intepretation and Methodology | remove interpretation and since it isn't addressed in this umbrella document. It will be used in the technology specific standards. |  | The term "interpretation" is used in 4.4 and 5b "interpretation protocols". And in the definition of internal validation (3.3). ASB WG receommends leaving the definition because the word is used in the document.
4.1 | The laboratory shall conduct internal validation studies on all forensic DNA analysis methodologies prior to use on casework or database samples. | The laboratory shall conduct internal validation studies on all forensic DNA analysis methodologies prior to implementation. | Keep our verbiage since it distinguishes casework and database samples. |  | The ASB WG does not believe the meaning of the standard, and specifically section 4.1, would be impacted by adding the language of "casework and database samples". The WG believes changing it to "prior to implementation" is broader and inclusive of both casework and database samples.
4.3.1 (originally 4.6) | Results from internal validation studies that contradict developmental validation shall be investigated. A statement of explanation for the contradiction shall be included in the final internal validation document if the data are accepted for analytical procedure development. | If any deviations from the developmental validation are detected, a statement of explanation and an investigation shall be conducted and documented. | If any discrepancies from the developmental validation are detected, a statement of explanation and an investigation shall be conducted and documented. | use of the word discrepancies versus deviations. | The ASB WG supports the changes made. In particular, deviation is a more inclusive word and the perceived difference detween the two words -- deviation and discrepancy -- is insignifcant to the standard.
4.3.2 (originally 4.7) | Results from internal validation studies that fall outside the scope of developmental validation shall be included in the final internal validation document if the data are utilized for analytical procedure development. | If any results from internal validation studies fall outside the scope of developmental validation, a statement of explanation shall be documented. | Internal validation studies that fall outside the scope of the developmental validation, shall be investigated and documented. | Just further clarified this standard. | The ASB WG does not believe this further clarification is significant enough to warrant a review and edit outside of the 5 year cycle.
4.5 (previously 4.4.1) | Information from developmental validation studies and internal validation studies from other forensic laboratories may be utilized, if made available for review. | Information from developmental validation studies and internal validation studies from other forensic laboratories may be obtained, reviewed, and utilized. If relied upon, this information shall be maintained as part of the internal validation documentation. | Information from developmental validation studies and internal validation studies from other forensic laboratories may be obtained, reviewed, and utilized to inform the validation process. |  | A public comment was made requesting that the lab maintain documentation when using studies from other labs. The ASB WG agreed and added the additional sentence "If relied upon, this information shall be maintained as part of the internal validation documentation". The WG still feels this addition was appropriate.
4.5 | This paragraph is a rewording of OSAC draft 4.5. It appears to be orphaned. Should it be labeled 4.6 or 4.5.1? | If the laboratory conducted or participated in the developmental validation of the metholodology, the development validation studies conducted by the laboratory may be used to satisfy applicable elements of the internal validation requirements. This information shall be maintained as part of the internal validation documentation. | I think this should be a it's own line and not part of 4.5. Make it 4.6 |  | The ASB WG does not believe this is significant enough to warrant a review and edit outside of the 5 year cycle.