## Document Information
OSAC Registry Approval (Legacy) 1.5, Comment Adjudication Response Template
Document Title | ASTM E3255-21: Standard Practice for Quality Assurance of Forensic Science Service Providers Performing Forensic Chemical Analysis (ASTM International)
Requesting Unit | Seized Drugs
Unit Chair |  | Unit Technical Contact
Name: | Agnes Winokur | Name: | Anne Slaymaker
Affiliation: |  | Affiliation
Beginning Comment Period Date | 2021-04-06
End Comment Period Date | 2021-05-06
Comment Adjudication Meeting Dates | 06/08-22/2021 | 2021-07-01 | 07/01-26/2021 | 2021-07-26
# of Members Present | Entire SC review and comment | Entire SC discussion | Entire SC review and comment | 7 Entire SC invited to discussion
Resolution Date and Vote Outcome | Electronic ballot. 17 approve; 0 reject; 0 abstain; 2 did not vote.
Note: This template is intended for use by all Units considering a new document for addition into OSAC Registry

## Comment Adjudication
# | Person | Section | Editorial or Technical | Attached File | Comment/Proposals | Response | Reason | Resolution
1 | Jessica Willis | 9, 10, 13, 14, 16 |  | Open Comment Response 1 - for easier reading | Comments of the Public Defender Service for the District of Columbia on ASTM E3255 − 21 Standard Practice for Quality Assurance of Forensic Science Service Providers Performing Forensic Chemical Analysis For any method or technique there are two critical aspects of reliability – the scientific testing to establish the limits, repeatability, reproducibility and accuracy of the method or technique and the quality assurance program under which the method or technique is employed. The first addresses whether the results are based on “reliable principles and methods” and the second helps ensure that the method or technique has been “reliably applied”. FRE 702. Thus, we view a standard for quality assurance as a critical pillar in ensuring that the results or opinions presented in criminal cases can be relied upon by all the parties when making liberty and life altering decisions. As a critical pillar a standard for quality assurance must be well defined and rigorous. Sadly, this is not the case for ASTM E3255 and thus we respectfully request that it not be added to the registry at this time. As we have reviewed more ASTM documents we recognize that upon occasion the guidance we sought was contained in another ASTM standard. But access to all of the relevant standards is not simple and absent a specific reference to the additional standard within the text of the document many readers may miss that essential guidance. Thus, to the extent that any of our concerns are addressed elsewhere the standard should be revised with a specific reference to that standard. Next, we would note that as we review both the ASB and ASTM standards there is a noticeable pattern that is troubling. Despite calls from consensus committees of the National Research Council and independent scientists for more science in forensic science and despite the work of the National Commission on Forensic Science to bring together stakeholders, forensic practitioners and research scientists to produce consensus recommendations to the forensic science community at large, those recommendations have been consistently ignored. ASTM E3255 is no exception. Specifically, section 9, “Method Validation and Verification” fails to require that validation and verification data and documentation be maintained and be available for review upon request as recommended by the NCFS in its Recommendation to the Attorney General Transparency of Quality Management System Documents. https://www.justice.gov/archives/ncfs/page/file/839706/download Section 13 “Casework Documentation, Report Writing, and Review” in its entirety ignores the NCFS Recommendation to the Attorney General Documentation, Case Record, and Report Contents https://www.justice.gov/archives/ncfs/page/file/905536/download, without explanation and to its detriment. Section 13.1.1 fails to require as recommended by the NCFS that “Records [] be created contemporaneous with the examination of evidence and the technical review that, along with the FSSPs’ quality management system documents relating to the forensic work performed, would allow another analyst or scientist, with proper training and experience, to understand and evaluate all the work performed and independently analyze and interpret the data and draw conclusions.” This language was developed by the NCFS to address both the needs within a crime lab for verification and technical review and for the stakeholders or customers within the criminal justice system including investigators, prosecutors, judges, victims and their families and defendants. Instead of adopting the NCFS language ASTM E3255 13.1.1 states “[m]aintain documentation that contains sufficient information and clarity to allow another properly trained forensic science practitioner the ability to evaluate the notes, interpret data, and verify whether the original result is accurate.” This language limits the usefulness of this documentation to verification and foregoes documentation that allows for an independent practitioner to come to an independent conclusion. In addition, section 13.1.1 oddly seems to suggests that an assessment can only be conducted by someone meeting the definition of FSP rather than the equally qualified “properly trained scientist” identified in the NCFS language. Correctly section 13.2.3 requires that “[f]orensic science service providers shall have a documented procedure for resolving instances where forensic science practitioners and reviewers disagree. The procedure shall include instruction to document the disagreement and corresponding resolution.” However, requiring the procedure to “include instruction to document” is vague and potentially permissive; the language should be changed to read “The procedure shall require documentation of the disagreement…” Further, section 13.2.3 fails to include a critical requirement that the documentation be maintained and disclosed with the results as called for by the NCFS. Disagreements could be Brady evidence, are likely evidence covered by ABA Model Rule 3.8 and are critical information in any scientific endeavor and thus any final report should disclose such disagreements. Section 13.3 “Report Writing” also fails to follow the NCFS’s recommendations. Instead it just refers to Practice E620 *1 and ISO/IEC 17025 without addressing any short comings in either document. For example, Practice E620 permits critical information to be placed in the case file and not in a final report. And we, and the NCFS, recognized that not all information needed for an independent assessment could be placed in a report. But ASTM E3255 fails to require as the NCFS recommended that reports state that “the report does not contain all of the documentation associated with the work performed. In order to understand and evaluate all the work performed, and independently analyze and interpret the data and draw conclusions, a review of the case record is required.” Section 13.3.2 instructs that “reports issued by the forensic science service provider shall be accurate, clear, objective, and meet the requirements of the jurisdictions served.” Once again the proposed standard ignored the language developed by the NCFS. The language here is vague, conclusory and not particularly instructive to the practitioner and not grounded in science or the scientific method. By contrast the NCFS recommended that “[r]eports should clearly state: the purpose of the examination or testing; the method and materials used; a description or summary of the data or results; any conclusions derived from those data or results; any discordant results or conclusions; the estimated uncertainty and variability; and possible sources of error and limitations in the method, data, and conclusions.” This provides substantially more guidance to the practitioner and mirrors the requirements of scientific research. Correctly section 16.1.1 requires that “[w]hen nonconforming work is encountered or discovered, the cause and the impact on past work shall be determined. Corrective measures shall be documented to minimize the likelihood of recurrence.” But the standard should also require that “nonconforming work” be reported to the parties in interest (the prosecuting authority, the court and any potentially impacted defendants). See NCFS Recommendation to the Attorney General National Code of Professional Responsibility for Forensic Science and Forensic Medicine Service Providers (“16. Appropriately inform affected recipients (either directly or through proper management channels) of all nonconformities or breaches of law or professional standards that adversely affect a previously issued report or testimony and make reasonable efforts to inform all relevant stakeholders, including affected professional and legal parties, victim(s) and defendant(s).”) https://www.justice.gov/archives/ncfs/page/file/839711/download The next category of problems we see in this proposed standard is a failure to provide minimum requirements despite its claim to do so in section 4.1. For example: Section 10.1.2. allows a lab deviate from the “recommended” use of “published or standardized methods” without any guidance about when or under what circumstances. Nor does it require that if a lab chooses not use published or standardized methods, that it document that fact, explain why the deviation occurred and disclosed the deviation to the end users of the report, including the defense. Allowing flexibility is not unreasonable but flexibility should not be untethered from any standards and must be accompanied with documentation of the circumstances and justification. Section 10.1.2.1 correctly requires that “[t]he forensic science service provider shall verify published or standardized methods by in-house performance testing.” But this section fails the harder but as important task of establish minimum standards for in-house performance testing begging the question what are the parameters/requirements for in-house performance testing? Section 10.1.2.2 suffers from the same problem as 10.1.2.1. it correctly states that “[t]he use of laboratory-developed or modified methods shall be validated and approved by the technical leader or other designated individual according to forensic science service provider policy.” But once again sets no minimum standard for validation. Requiring that a method be validated is meaningless in the absence of any standard for validation. ASTM E3255 also fails to incorporate three essential quality assurance measures – testimony reviews, blind verification and double-blind proficiency testing. Section 1.1 does not make any reference to testimony reviews. Section 15.1 does state that “[i]nternal audits of the forensic science service provider’s operations shall be conducted at least once a year”, but provides no guidance on the scope or nature of these audits. Audits should include testimony and reporting reviews and that should be made explicit and the minimum requirements for such a review should be stated.*2 Section 13.2.2 calls for blind review “when achievable”. It is hard to imagine when this is not “achievable” which begs the question why blind review is not required. But for those rare circumstances when it is not achievable this standard should require that the absence of a blind review be documented, explained and disclosed to the parties. Likewise, in section 14 “Competency and Proficiency Testing” should require double blind proficiency testing programs or require an explanation why such a program cannot be established. We appreciate the current difficulties in establishing a double-blind program, though we note the Houston example to demonstrate that it can be done, but blinding participants to the fact that they are being tested is a long-established best practice in science. The failure to apply it to forensic science is part of the forensic culture that needs to be reformed and brought in line with science. And if there is a demand for such testing it is likely that private enterprise will adjust to meet that demand. There are two additional issues with section 14; the first is that testing that covers the entire range of case work is not mandatory. In 14.2.2 and in 14.3.2 “should” must be replaced with “shall”. Testing that does not encompass the more difficult cases to be encountered provides no quality assurance with respect to those cases. Second, section 14 needs language requiring FSSPs to maintain documentation of any errors or other discrepancies caught by reviewers (e.g. administrative or technical) before submission to the proficiency test provider for scoring, and make that a part of the proficiency test file, to be disclosed along with proficiency test records upon request. Finally, OSAC should press for greater transparency for forensic results and opinions in its standards. While forensic results are used in adversarial proceedings, transparency is a hallmark of science and scientific results or opinions should be neutral and equally available to all the parties. Thus, for example, section 13.1.3 which correctly calls for the maintenance of communication logs should require both that documentation should be maintained and provided to the parties upon request. Similarly, in 13.1.4.1 any deviations should be both documented and reported in any final report. And in section 13.1.5 and section 17.1 documentation should not only be maintained but should be provided to the parties upon request. We encourage OSAC to make clear in its review of standards being considered for the registry that NCFS recommendations be incorporated into all standard development, that best practices be made mandatory except under identified and documented circumstances and that transparency be encouraged. Thank you in advance for considering the above comments. *1 We have heard on occasion that the answer is then to revise E620. This appears to allow standard after standard to dodge the issue while nothing is done and there is no guarantee that E620 will ever be properly revised. Further few proposed standards just cite E620 and say nothing further. Most seem to add something to what is required (for example see section 13.3.2) and thus there seems to be no principled reason why the changes that the NCFS recommended are not being made. *2 This is an example of a section where, if another ASTM standard addresses testimony monitoring and audits in detail, or such standard is currently under development, the standard(s) should be referenced. | See attached document for a detailed response to each comment submitted. | See attached document for a detailed response to each comment submitted. | Not persuasive
2 | Lori Varnell (DO NOT PUBLISH) | Scope, 1.2, 3.2.11, 6,7, 9, 10, 11, 13, 14, 16, 17 |  | Open Comment Response 2 - for easier reading | These Comments are from the following members of the LTG: Maneka Sinha Julia Leighton Jennifer Friedman Chris Plourd Todd Edelman John Ellis Andrea Roth Lynn Garcia Barry Scheck Dana Delger Kate Philpott Jessica Gabel The above-listed members oppose placing this standard on the registry, as well. COMMENTS REGARDING ASTM E3255-21 1. Scope 1.1 This practice discusses procedures for quality assurance of forensic science service providers performing forensic chemical analysis. This practice provides a framework of quality in the processing of evidence, including: maintaining a quality management system; personnel duties, qualifications, training, and education; facility considerations; evidence handling; analytical procedures; instrument and equipment performance; chemicals and reagents; casework documentation and reporting; proficiency and competency testing; method validation and verification; audits; deficiency of analysis; and documentation requirements. Annex A1 – Annex A3 provides additional procedures that are discipline-specific. COMMENT: The standard seems to omit quality assurance through testimony monitoring and review of reports. Quality managers should establish that testimony and lab reports are scientifically acceptable, perhaps by periodic random sampling and review. Section 15.1 does state that “[i]internal audits of the forensic science service provider’s operations shall be conducted at least once a year, but it gives no indication of the scope or nature of these audits. If the audits pertain to testimony and reporting, that should be made explicit and the minimum requirements for auditing should be stated. [If a separate standard addresses testimony monitoring in detail, such as the standard currently under development by the seized drugs subcommittee, the standard(s) should be referenced here.] 1.2 This practice cannot replace knowledge, skills, or abilities acquired through appropriate education, training, and experience (see Practice E2917), and is to be used in conjunction with professional judgment by individuals with such discipline-specific knowledge, skills, and abilities. COMMENT: This use of boilerplate language is not instructive to practitioners. 3.2.11 standardized method, n—a method published by a recognized international, regional, or national standard development organization (for example, ASTM, ASB, AOAC, etc.). COMMENT: The fact that a “method” is published by a “recognized” SDO means that it is published as a “standard,” not that the “standard” prescribes a standardized method. The ASTM style manual (March 2008) defines “test method” as “a definitive procedure that produces a test result” and gives an example of “identification.” The ASB style manual (March 2018) does not define “method” and uses the word only once, as a synonym for “technique.” It is not apparent that every standard or best practice recommendation for a technique lays out a detailed set of steps for analysts to follow when making an “identification” or producing another result. Standards that lack sufficient specificity should not be regarded as “standardized.” 6. Personnel COMMENTS: •Many of the subsections here lack appropriate specificity and substance and are also inconsistent with each other. Examples are listed below. •Additionally, all of the positions listed should be required to conform to the requirements of E2917. •Specific comments about the subsections: ◦6.4, 6.5. Many “key personnel” positions listed include that such personnel must have certain education, skills, and training. However, the director and quality assurance manager subsections do not state that those holding these positions must have “education, skills, and abilities commensurate with their responsibilities.” This language, as well as what such “education, skills, and abilities” would constitute, should be added. ◦6.6.1, 6.7.1. What are the “education, skills, and abilities commensurate with” the responsibilities of technical support personnel and technicians? Baseline parameters should be set out. ◦6.6.2. What “on-the-job” training is necessary for technical support personnel? Baseline parameters should be established. ◦6.8.1. What type and quantity of lab classes are required or appropriate? Baseline parameters should be set out. 6.7 Technician – COMMENT: Why would this be a defined position? Are there staff who analyze evidence but do not issue reports? Why would such individuals then require training on providing testimony? Whatever the explanation, this position should not be exempt from all the training required by E2917. 7. Physical plant COMMENTS: •Many terms here are not defined or requirements are otherwise lacking specificity. ◦7.1.3. What constitutes “[s]uitable space?” This should be defined. ◦7.14. What constitutes adequate “[e]nvironmental and procedural controls to prevent incidental contamination?” This should be defined. ◦7.1.5 serves as a helpful juxtaposition. Unlike 7.1.3 and 7.1.4 which do not explain “[s]uitable space” or “[e]nvironmental and procedural controls,” 7.1.5 provides helpful examples of devices and equipment that can protect from chemical hazards. 9. Method Validation and Verification COMMENTS: •9. Method Validation and Verification – 9.6 should be drafted as follows: “Validation and verification data and documentation shall be maintained and be available for review upon request.” See NCFS, Recommendation to the Attorney General Transparency of Quality Management System Documents (recommending that “Summaries of internal validation studies, including at a minimum (i) the scope of the study, (ii) summaries of major events/experiments performed, results, major conclusions and methods implemented or approved by the forensic provider” be made readily available to the public) https://www.justice.gov/archives/ncfs/page/file/839706/download 10.1.1.5 When applicable, forensic science service providers should employ a statistically based protocol when an inference is to be made regarding a specified proportion of a submission for qualitative or quantitative determinations. COMMENT: The sampling requirement is obscure. What is “a statistically based protocol”? Some form of random sampling of the “submission”? When would probability sampling not be “applicable”? 10.1.2. COMMENTS: First, under what circumstances may a lab deviate from use of published or standardized methods? Second, when a lab does not use published or standardized methods, it must document that fact as well as explain why the deviation occurred. Third, failure to use published or standardized methods must be disclosed to the end users of the report, including the defense. The intent may have been to allow labs reasonable flexibility, but, as written, it risks allowing labs to deviate from standards that should be followed, with no explanation or justification. The standard should instead note: (1) the circumstances and 2) an explanation for choosing an alternative analytical procedure. 10.1.2.1 The forensic science service provider shall verify published or standardized methods by in-house performance testing. COMMENT: What does verification consist of? Section 4.1 states that this standard provides minimum requirements. What is the minimum in-house performance testing that is required under this standard? What are the parameters/requirements for in-house performance testing? 10.1.2.2 The use of laboratory-developed or modified methods shall be validated and approved by the technical leader or other designated individual according to forensic science service provider policy. COMMENT: Section 4.1 states that this standard provides minimum requirements. What is required in the way of a policy for validation? Stating that there must be a laboratory policy for validation offers no standardization or guidance. 10.1.6.2 Comparison of instrumental test/case sample data to external reference data when a reference material is unavailable. External reference data shall be assessed and demonstrated to be fit for purpose. Factors include: (1) Origin of the data; (2) Validation of the data; (3) Peer review of the data; and (4) Comparability of analytical conditions. COMMENT: Normally, one validates methods for generating data or making inferences from data. What is validation data and peer review of data? The use of the terms “peer review” and “validation” here is not ideal, but the underlying idea is good. 10.6.2. COMMENT: How are the listed factors satisfied/how is assessment by satisfaction of these factors conducted? The draft is silent on this and does not explain in any meaningful way how external reference data is supposed to be established as fit for purpose. 10.2.2.4. COMMENT: Should be modified to require certified reference materials when available. 11.2 Instrument Performance—Instruments shall be routinely optimized and monitored to ensure that proper performance is maintained. COMMENT: Section 4.1 states that this standard provides minimum requirements. What are the minimum requirements to achieve this outcome? 11.2.1 Acceptance criteria for monitoring instrument performance shall be defined and documented. COMMENT: What is the minimum required when monitoring instrument performance? The subsections only refer to “the use of reference materials, test mixtures and blanks when applicable” and documenting and retaining “ instrument performance monitoring.” 13. Casework Documentation, Report Writing, and Review 13.1 Casework Documentation: 13.1.1 Maintain documentation that contains sufficient information and clarity to allow another properly trained forensic science practitioner the ability to evaluate the notes, interpret data, and verify whether the original result is accurate. COMMENTS: Section 13.1.1 limits the usefulness of this documentation to verification and foregoes independent judgment. It should be replaced with the language developed by the NCFS that focused on the ability for a full and fully independent assessment by another properly trained scientist (not necessarily meeting the definition of FSP). Replace with: “Records should be created contemporaneous with the examination of evidence and the technical review that, along with the FSSPs’ quality management system documents relating to the forensic work performed, would allow another analyst or scientist, with proper training and experience, to understand and evaluate all the work performed and independently analyze and interpret the data and draw conclusions.” Particularly with respect to documentation these standards need to address the needs of the criminal justice system and not just internal reviews. •Documentation must be sufficient to allow an external, independent practitioner to come to an independent conclusion, not just verify results. Review the NCFS language for possible adoption. 13.1.2 Evidence handling documentation shall establish chain-of-custody. 13.1.3 Case related communications shall be maintained. COMMENT: Such documentation should be maintained and provided to the parties upon request. 13.1.4 Analytical documentation shall include observations, methodology, blanks, controls, test results, and supporting documentation. Examples of supporting documentation are instrumental data, sequence files or run logs, charts, graphs, and spectra generated during analysis. COMMENT: Such deviations must be documented but also must be disclosed to the parties. 13.1.4.1 Any deviations from required analytical procedures shall be documented (see 10.1.1). COMMENT: The following phrase should be added to this sentence: “and explained.” 13.1.5 Casework documentation shall be retained according to the forensic science service provider’s policy or jurisdictional regulations or laws. COMMENT: Such documentation should also be provided to the parties upon request. 13.2 Case Review: 13.2.1 Forensic science service providers shall have a documented policy for reviewing and authorizing reported results. 13.2.2 When achievable, reviewers should not be privy to analysts’ results when conducting reviews. COMMENTS: Blind review should be required. If not required then the standard should make clear that blind review is a best practice and should be conducted by an FSP if such a review is achievable.” Additionally, when blind review is not conducted, this should be documented, explained and disclosed to the parties. 13.2.3 Forensic science service providers shall have a documented procedure for resolving instances where forensic science practitioners and reviewers disagree. The procedure shall include instruction to document the disagreement and corresponding resolution. COMMENT: Add the following sentence to this section: “This documentation shall be maintained and disclosed with the results.” This is consistent with the NCFS Recommendation to the Attorney General Documentation, Case Record, and Report Contents. https://www.justice.gov/archives/ncfs/page/file/905536/download. Alternatively, section 13.3.1 should be amended as suggested below. 13.2.4 Identified deficiencies shall be resolved in accordance with Section 16. 13.3 Report Writing: 13.3.1 Reports shall include relevant elements described in Practice E620 and ISO/IEC 17025. COMMENT: Because Practice E620 permits putting so much critical information into the case file and not in the report, this standard should specify the following in addition to compliance with E620 and ISO 17025: “Reports should clearly state: the purpose of the examination or testing; the method and materials used; a description or summary of the data or results; any conclusions derived from those data or results; any discordant results or conclusions; the estimated uncertainty and variability; and possible sources of error and limitations in the method, data, and conclusions.” Because not all material required for an independent evaluation is in a report the report should also state that “the report does not contain all of the documentation associated with the work performed. In order to understand and evaluate all the work performed, and independently analyze and interpret the data and draw conclusions, a review of the case record is required.” Finally the standard should require that “[t]he case record should be organized and made available.” This is consistent with the NCFS Recommendation to the Attorney General Documentation, Case Record, and Report Contents. https://www.justice.gov/archives/ncfs/page/file/905536/download 13.3.2 Reports issued by the forensic science service provider shall be accurate, clear, objective, and meet the requirements of the jurisdictions served. COMMENT: The NCFS recommendation should be incorporated here as well. 14. Competency and Proficiency Testing COMMENTS: •14.2.2. “Should” should be changed to “shall.” •14.3.1.2. If blind proficiency testing programs cannot be implemented, this should be documented and explained. This section should define and require double blind testing proficiency testing. •14.3.2. The requirement that proficiency test samples be representative of the full range of casework should be mandatory – replace “should” with “shall.” 16.1.1. COMMENT: This standard should include a provision that discovery be reported to the parties in interest (the prosecuting authority, the court and any potentially impacted defendants). See NCFS Recommendation to the Attorney General National Code of Professional Responsibility for Forensic Science and Forensic Medicine Service Providers (“16. Appropriately inform affected recipients (either directly or through proper management channels) of all nonconformities or breaches of law or professional standards that adversely affect a previously issued report or testimony and make reasonable efforts to inform all relevant stakeholders, including affected professional and legal parties, victim(s) and defendant(s).”) https://www.justice.gov/archives/ncfs/page/file/839711/download Nonconformities must be disclosed to the parties, to include the defense. 17.1. COMMENTS: •Records should not only be maintained, but disclosed upon request to the parties. •Non-conformances and disagreements and resolution of disagreements, while they should be in each specific case file, they should be added to this section so they are maintained collectively as part of the quality assurance record. | See attached document for a detailed response to each comment submitted. | See attached document for a detailed response to each comment submitted. | Not persuasive
No response needed
Note on B1: ====== ID#AAAAMfUV7zg (2021-06-07 15:30:49) These fields will be redacted when the comment adjudication is placed on the OSAC website.

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee*
No response needed | Comment does not require a response
*If all commenters express the same or similar reasoning for not moving a document forward, the OPO looks to confirm that all similar comments have the same adjudication response (e.g. Persuasive, Not Persuasive, etc.). We also look to confirm that the response provided by the unit is the same or similar. This is to ensure that when the final comment(s) and response(s) are published to the OSAC website, that viewers have a clear understanding of the unit's perspective on a given issue.