# Appendix E.  Model Inspection Report Forms

Report Form											Page

Random Inspection Report									E-2

Random Package Inspection Report - Example						E-3

Standard Package Inspection Report								E-4

Standard Inspection Report - Example							E-5

| Date | Random Package Report |  |  |  |  |  |  |  |  |  | Sampling Plan  A  B |  |  |  |  |  |  |  |  | Report Number |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address) |  |  |  | Product/Brand Identity |  |  |  |  |  |  | Manufacturer |  |  |  |  |  |  |  |  | Container Description |  |  |
|  |  |  |  | Lot Codes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity- enter weight for each package in column 1 below. | 2. Unit of Measure |  |  |  |  | 3. MAV – look up the MAV for each package with a minus error, convert it to dimensionless units and enter this value in Column 4 below. |  |  |  |  |  |  |  |  |  | 5. Inspection Lot Size |  |  |  | 6. Sample Size (n) |  |  |
| 7. Initial Tare Sample Size | 8. No. of MAVs Allowed |  |  |  |  | 9. Range of Package Errors (Rc) |  |  | 10. Range of Tare Weights (Rt) |  |  |  |  |  |  | 11. Rc/Rt (910 = ) |  |  |  | 12. Total No. of Tare Samples |  |  |
| 13. Avg. Tare Wt  Used Dry Tare  Wet Tare  Unused Dry Tare |  |  |  |  |  |  |  |  | 13a.  Tare Correction  Moisture Allowance |  |  |  |  |  |  |  |  |  |  | 14. Nominal Gross Wt (Labeled Wt + 13 – 13a) |  |  |
|  | Pkg 1 |  | Pkg 2 |  | Pkg 3 |  | Pkg 4 |  | Pkg 5 |  |  | Pkg 6 |  |  | Pkg 7 |  | Pkg 8 |  |  | Pkg 9 |  | Pkg 10 |
| a. Gross Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Package Error (a – 13 = ) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Product Description, Lot Code, Unit Price |  |  |  |  |  |  | Money Errors |  |  |  |  | 1. Labeled Net Weight |  |  |  |  | Package Errors |  |  |  | 4. MAV |  |
|  |  |  |  |  |  |  | - |  | + |  |  |  |  |  |  |  | - |  | + |  |  |  |
| 1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Totals |  |  |  |  |  |  |  |  |
| 15. Total Error | 16. No. of unreasonable minus errors (compare each package error with the MAV in Col 4) |  |  |  |  |  | 17. Is 16 greater than 8?  Yes, Lot Fails  No, go to 18 |  |  |  |  |  | 18. Avg. error in dimensionless units (15  6 =) |  |  |  |  | 19. Avg. error in labeled units (18 x 2 =) |  |  |  |  |
| 20. Is 18 Zero or Plus?  Yes, lot passes, go to 25  No, go to 21 |  | 21. Compute Sample Standard Deviation |  |  |  |  |  | 22. Sample Correction Factor |  |  |  |  | 23. Compute Sample Error Limit (21 x 22 =) |  |  |  |  |  |  |  |  |  |
| 24. Disregarding the signs, is 18 larger than 23?  Yes, Lot Fails, go to 25  No, Lot Passes, go to 25  Yes, Lot Fails, go to 24  No, Lot Passes, go to 24 |  |  |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot  Approved  Rejected  Approved  Rejected |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments |  |  |  |  |  |  |  |  |  | Official’s Signature |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report |  |  |  |  |  |  |  |  |  |  |  |  |

| Date September 16, 1999 | Random Package Report - Example Form |  |  |  |  |  |  |  |  |  | Sampling Plan  A  B |  |  |  |  |  |  | Report Number 17 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address) L&O Market MacCorkle Ave Charleston, WV 25177 |  |  |  | Product/Brand Identity Ground Chuck |  |  |  |  |  |  | Manufacturer Meat Department – L&O Market |  |  |  |  |  |  | Container Description 2S Tray with soaker and plastic wrap |  |  |
|  |  |  |  | Lot Codes 1, 19, 99 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity- enter weight for each package in the column 1 below. | 2. Unit of Measure 0.001 lb |  |  |  | 3. MAV – look up the MAV for each package with a minus error, convert it to dimensionless units and enter this value in Column 4 below. |  |  |  |  |  |  |  |  |  | 5. Inspection Lot Size 23 |  |  | 6. Sample Size (n) 12 |  |  |
| 7. Initial Tare Sample Size 2 | 8. No. of MAVs Allowed 0 |  |  |  | 9. Range of Package Errors (Rc) 10 |  |  |  | 10. Range of Tare Weights (Rt) 1 |  |  |  |  |  | 11. Rc/Rt (910 = ) 10 |  |  | 12. Total No. of Tare Samples 2 |  |  |
| 13. Avg. Tare Wt  Used Dry Tare  Wet Tare  Unused Dry Tare 0.0205 lb |  |  |  |  |  |  |  |  | 13a.  Tare Correction  Moisture Allowance N/A |  |  |  |  |  |  |  |  | 14. Nominal Gross Wt (Labeled Wt + 13 – 13a) Label Wt + 0.020 lb |  |  |
|  | Pkg 1 |  | Pkg 2 |  | Pkg 3 | Pkg 4 |  |  | Pkg 5 |  | Pkg 6 |  |  | Pkg 7 |  | Pkg 8 |  | Pkg 9 |  | Pkg 10 |
| a. Gross Wt | 1.852 lb |  | 1.223 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt | 0 .020 lb |  | 0 .021 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt | 1.832 lb |  | 1.202 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| d. Package Error (a – 14 = ) | -18 |  | -8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Product Description, Lot Code, Unit Price |  |  |  |  |  | Money Errors |  |  |  |  | 1. Labeled Net Weight |  |  |  |  | Package Errors |  |  | 4. MAV |  |
|  |  |  |  |  |  | - |  |  | + |  |  |  |  |  |  | - |  | + |  |  |
| 1. Ground Chuck - 1, 19, 99 - $1.79 per lb |  |  |  |  |  |  |  |  |  |  | 1.85 lb |  |  |  |  | 18 |  |  |  |  |
| 2. |  |  |  |  |  |  |  |  |  |  | 1.21 lb |  |  |  |  | 7 |  |  |  |  |
| 3. |  |  |  |  |  |  |  |  |  |  | 1.56 lb |  |  |  |  | 8 |  |  |  |  |
| 4. |  |  |  |  |  |  |  |  |  |  | 1.98 lb |  |  |  |  | 14 |  |  |  |  |
| 5. |  |  |  |  |  | $ 0.04 |  |  |  |  | 1.07 lb |  |  |  |  | 23 |  |  | 44 |  |
| 6. |  |  |  |  |  |  |  |  |  |  | 1.55 lb |  |  |  |  | 16 |  |  |  |  |
| 7. |  |  |  |  |  |  |  |  |  |  | 1.02 lb |  |  |  |  | 2 |  |  |  |  |
| 8. |  |  |  |  |  | $ 0.04 |  |  |  |  | 1.44 lb |  |  |  |  | 25 |  |  | 56 |  |
| 9. |  |  |  |  |  |  |  |  |  |  | 1.33 lb |  |  |  |  | 16 |  |  |  |  |
| 10. |  |  |  |  |  |  |  |  |  |  | 2.03 lb |  |  |  |  | 20 |  |  | 70 |  |
| 11. |  |  |  |  |  |  |  |  |  |  | 1.73 lb |  |  |  |  | 14 |  |  |  |  |
| 12. |  |  |  |  |  |  |  |  |  |  | 1.16 lb |  |  |  |  | 11 |  |  |  |  |
| 13. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Totals |  |  | 174 |  |  |  |  |
| 15. Total Error - 174 | 16. No. of unreasonable minus errors (compare each package error with 4) 0 |  |  |  |  |  | 17. Is 16 greater than 8?  Yes, Lot Fails  No, go to 18 |  |  |  |  | 18. Avg. error in dimensionless units (15  6 =) - 14.5 |  |  |  |  | 19. Avg. error in labeled units (18 x 2 =) - 0.014 lb |  |  |  |
| 20. Is 18 = Zero or Plus?  Yes, lot passes, go to 25  No, go to 21 |  | 21. Compute Sample Standard Deviation 6.721 |  |  |  |  |  | 22. Sample Correction Factor 0.635 |  |  |  | 23. Compute Sample Error Limit (21 x 22 =) 4.267 |  |  |  |  |  |  |  |  |
| 24. Disregarding the signs, is 18 larger than 23?  Yes, Lot Fails, go to 25  No, Lot Passes, go to 25 |  |  |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot  Approved  Rejected |  |  |  |  |  |  |  |  |  |  |
| Comments: Product found to contain less than the stated net contents |  |  |  |  |  |  |  |  |  | Official’s Signature |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report |  |  |  |  |  |  |  |  |  |  |

| Date |  | Standard Package Report |  |  |  |  |  |  |  |  |  |  | Sampling Plan  A  B |  |  |  |  |  |  |  | Report Number |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address) |  |  |  |  | Product/Brand Identity |  |  |  |  |  |  |  | Manufacturer |  |  |  |  |  |  |  | Container Description |  |  |
|  |  |  |  |  | Lot Codes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity |  | 2. Unit of Measure |  |  |  | 3. MAV |  |  | 4. MAV (dimensionless units) (3  2 =) |  |  |  |  |  |  |  |  | 5. Inspection Lot Size |  |  | 6. Sample Size (n) |  |  |
| 7. Initial Tare Sample Size |  | 8. No. of MAVs Allowed |  |  |  | 9. Range of Package Errors (Rc) |  |  |  |  | 10. Range of Tare Weights (Rt) |  |  |  |  |  |  | 11. Rc/Rt (910 =) |  |  | 12. Total No. of Tare Samples |  |  |
| 13. Avg. Tare Wt  Used Dry Tare Wet Tare  Unused Dry Tare |  |  |  |  |  |  |  |  |  |  | 13a.  Tare Correction  Moisture Allowance  Vacuum Pack |  |  |  |  |  |  |  |  |  | 14. Nominal Gross Wt (1 + 13 – 13 a =) |  |  |
|  |  | Pkg 1 |  | Pkg 2 |  | Pkg 3 |  | Pkg 4 |  |  | Pkg 5 |  |  | Pkg 6 |  |  | Pkg 7 |  | Pkg 8 |  | Pkg 9 |  | Pkg 10 |
| a. Gross Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | + |  |  | - |  |  | + |  |  |  | - |  |  |  | + |  |  |  | - |  |  | + |  |
| 1. |  |  |  | 13. |  |  |  |  |  |  | 25. |  |  |  |  |  |  |  | 37. |  |  |  |  |
| 2. |  |  |  | 14. |  |  |  |  |  |  | 26. |  |  |  |  |  |  |  | 38. |  |  |  |  |
| 3. |  |  |  | 15. |  |  |  |  |  |  | 27. |  |  |  |  |  |  |  | 39. |  |  |  |  |
| 4. |  |  |  | 16. |  |  |  |  |  |  | 28. |  |  |  |  |  |  |  | 40. |  |  |  |  |
| 5. |  |  |  | 17. |  |  |  |  |  |  | 29. |  |  |  |  |  |  |  | 41. |  |  |  |  |
| 6. |  |  |  | 18. |  |  |  |  |  |  | 30. |  |  |  |  |  |  |  | 42. |  |  |  |  |
| 7. |  |  |  | 19. |  |  |  |  |  |  | 31. |  |  |  |  |  |  |  | 43. |  |  |  |  |
| 8. |  |  |  | 20. |  |  |  |  |  |  | 32. |  |  |  |  |  |  |  | 44. |  |  |  |  |
| 9. |  |  |  | 21. |  |  |  |  |  |  | 33. |  |  |  |  |  |  |  | 45. |  |  |  |  |
| 10. |  |  |  | 22. |  |  |  |  |  |  | 34. |  |  |  |  |  |  |  | 46. |  |  |  |  |
| 11. |  |  |  | 23. |  |  |  |  |  |  | 35. |  |  |  |  |  |  |  | 47. |  |  |  |  |
| 12. |  |  |  | 24. |  |  |  |  |  |  | 36. |  |  |  |  |  |  |  | 48. |  |  |  |  |
| Total | Total |  |  | Total |  |  | Total |  |  |  | Total |  |  |  | Total |  |  |  | Total |  |  | Total |  |
| 15. Total Error |  | 16. No. of unreasonable minus errors (compare each package error with 4) |  |  |  |  |  |  |  |  | 17. Is 16 greater than 8?  Yes, lot fails  No, go to 18 |  |  |  |  | 18. Avg. error in dimensionless units (15  6 =) |  |  |  | 19. Avg. error in labeled units (18 x 2 =) |  |  |  |
| 20. Is 18 = Zero or Plus?  Yes, lot passes, go to 25  No, go to 21 |  |  | 21. Compute Sample Standard Deviation |  |  |  |  |  |  | 22. Sample Correction Factor |  |  |  |  |  | 23. Compute Sample Error Limit (21 x 22 =) |  |  |  |  |  |  |  |
| 24. Disregarding the signs, is 18 larger than 23?  Yes, lot fails, go to 25  No, lot passes, go to 25 |  |  |  |  |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot  Approved  Rejected |  |  |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |  |  | Official’s Signature |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report |  |  |  |  |  |  |  |  |  |  |  |

| Date January 20, 1999 |  | Standard Package Report - Sample Form |  |  |  |  |  |  |  |  |  | Sampling Plan:  A  B |  |  |  |  |  |  |  | Report Number 16 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location (name, address) Volunteer Market 18765 Alcoa Highway Knoxville, Tennessee 37920 |  |  |  | Product/Brand Identity Community Group Cookies (Thin Mints) |  |  |  |  |  |  |  | Manufacturer ABC Cookies Inc 1069 Capitol Avenue Nashville, Tennessee 37204 |  |  |  |  |  |  |  | Container Description Cardboard Box / Plastic Liner |  |  |  |  |
|  |  |  |  | Lot Codes April 1998 A&B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Labeled Quantity 453 g (1 lb) |  | 2. Unit of Measure 0.001 lb |  |  |  | 3. MAV 0 .044 lb |  |  | 4. MAV (dimensionless units) (3  2 =) 44 |  |  |  |  |  |  | 5. Inspection Lot Size 172 |  |  |  | 6. Sample Size (n) 12 |  |  |  |  |
| 7. Initial Tare Sample Size 2 |  | 8. No. of MAVs Allowed 0 |  |  |  | 9. Range of Package Errors (Rc) 24 |  |  |  |  |  |  | 10. Range of Tare Weights (Rt) 2 |  |  | 11. Rc/Rt (910 = ) 12 |  |  |  | 12. Total No. of Tare Samples 2 |  |  |  |  |
| 13. Avg. Tare Wt  Used Dry Tare  Wet Tare  Unused Dry Tare 0 .014 lb |  |  |  |  |  |  |  |  |  |  |  |  | 13a.  Tare Correction  Moisture Allowance  Vacuum Pack N/A |  |  |  |  |  |  | 14. Nominal Gross Wt (1 + 13 – 13 a =) 1.014 lb |  |  |  |  |
|  |  |  | Pkg 1 |  | Pkg 2 |  | Pkg 3 |  |  | Pkg 4 |  |  | Pkg 5 |  | Pkg 6 |  |  | Pkg 7 |  | Pkg 8 | Pkg 9 |  |  | Pkg 10 |
| a. Gross Wt |  |  | 1.052 lb |  | 1.026 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| b. Tare Wt |  |  | 0.015 lb |  | .013 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| c. Net Wt |  |  | 1.037 lb |  | 1.013 lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - | + |  |  |  | - |  |  | + |  |  |  |  | - |  |  |  | + |  |  | - |  |  | + |  |
| 1. | 38 |  |  |  | 13. |  |  |  |  |  |  |  | 25. |  |  |  |  |  |  | 37. |  |  |  |  |
| 2. | 12 |  |  |  | 14. |  |  |  |  |  |  |  | 26. |  |  |  |  |  |  | 38. |  |  |  |  |
| 3. | 8 |  |  |  | 15. |  |  |  |  |  |  |  | 27. |  |  |  |  |  |  | 39. |  |  |  |  |
| 4. | 4 |  |  |  | 16. |  |  |  |  |  |  |  | 28. |  |  |  |  |  |  | 40. |  |  |  |  |
| 5. 3 |  |  |  |  | 17. |  |  |  |  |  |  |  | 29. |  |  |  |  |  |  | 41. |  |  |  |  |
| 6. 2 |  |  |  |  | 18. |  |  |  |  |  |  |  | 30. |  |  |  |  |  |  | 42. |  |  |  |  |
| 7. | 12 |  |  |  | 19. |  |  |  |  |  |  |  | 31. |  |  |  |  |  |  | 43. |  |  |  |  |
| 8. 3 |  |  |  |  | 20. |  |  |  |  |  |  |  | 32. |  |  |  |  |  |  | 44. |  |  |  |  |
| 9. | 4 |  |  |  | 21. |  |  |  |  |  |  |  | 33. |  |  |  |  |  |  | 45. |  |  |  |  |
| 10. 1 |  |  |  |  | 22. |  |  |  |  |  |  |  | 34. |  |  |  |  |  |  | 46. |  |  |  |  |
| 11. 0 |  |  |  |  | 23. |  |  |  |  |  |  |  | 35. |  |  |  |  |  |  | 47. |  |  |  |  |
| 12. | 6 |  |  |  | 24. |  |  |  |  |  |  |  | 36. |  |  |  |  |  |  | 48. |  |  |  |  |
| Total 9 9 | Total 84 |  |  |  | Total |  |  | Total |  |  |  |  | Total |  |  |  | Total |  |  | Total |  |  | Total |  |
| 15. Total Error + 75 |  |  | 16. No. of unreasonable minus errors (compare each package error with 4) 0 |  |  |  |  |  |  |  |  |  | 17. Is 16 greater than 8?  Yes, lot fails  No, go to 18 |  |  |  |  |  | 18. Avg. error in dimensionless units. (15  6 =) + 6.25 |  |  | 19. Avg. error in labeled units (18 x 2 =) + 0.006 lb |  |  |
| 20. Is 18 = Zero or Plus?  Yes, lot passes, go to 25  No, go to 21 |  |  |  |  | 21. Compute Sample Standard Deviation |  |  |  |  |  | 22. Sample Correction Factor |  |  |  |  |  |  |  | 23. Compute Sample Error Limit (21 x 22 =) |  |  |  |  |  |
| 24. Disregarding the signs, is 18 larger than 23?  Yes, lot fails, go to 25  No, lot passes |  |  |  |  |  |  |  |  |  |  |  |  |  | 25. Disposition of Inspection Lot  Approved  Rejected |  |  |  |  |  |  |  |  |  |  |
| Comments: Lot Passes |  |  |  |  |  |  |  |  |  |  |  |  |  | Official’s Signature |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Acknowledgement of Report |  |  |  |  |  |  |  |  |  |  |