## Document Information
OSAC Registry Approval (Legacy) 1.5, Comment Adjudication Response Template
Document Title | ASTM E3260, Standard Guide for Forensic Examination and Comparison of Pressure Sensitive Tapes
Requesting Unit | Trace Materials
Unit Chair |  | Unit Technical Contact
Name: | Diana Wright | Name: | Jeremiah Morris
Affiliation: | Trace Materials SC Chair | Affiliation | Polymer TG Chair
Beginning Comment Period Date | 2021-03-02
End Comment Period Date | 2021-04-02
Comment Adjudication Meeting Dates | 2021-04-13
# of Members Present
Resolution Date and Vote Outcome | June 2, 2021------30 out of 37 eligible voters cast their vote before the deadline. Yes: 30 Votes; No: 0 Votes; Abstain: 0 Votes Ethan Groves, Jack Hietpas, Katie Igowsky, Wayne Isphording, Brad Lee, Ian Saginor and Michael Smith did not cast a vote
Note: This template is intended for use by all Units considering a new document for addition into OSAC Registry

## Comment Adjudication
# | Person | Commenters | Section | Editorial or Technical | Attached File | Comment/Proposals | Response | Reason | Resolution
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | Equating validated statistical analysis with “expert judgment” impedes the much-needed development of quantitative and objective methods within forensic science. Failing to identify the absence of data on the discriminatory power of, for example, finding that two samples contain the same chemical component, ignores a fundamental limitation of the techniques described and opens the door to examiners improperly estimating the discriminatory power of the information obtained. Claiming without demonstrating (or citing specific authorities and acknowledging criticisms) that any technique or method is valid is a self-serving statement of the proponents of the method and diminishes the integrity of the registry and the standards on the registry. The registry is ill served if it accepts standards that contain unsubstantiated claims. | The document is not intended to equate expert judgement with statistical processes. The document simply states these are two different approaches to evaluate obtained data. Expert judgment is needed to determine if/that a particular statistical analysis is relevant or appropriate for a given set of samples. Further, in the absence of an appropriate statistical analysis or in the absence of a set of samples conducive to statistical analysis, expert judgment is still an appropriate means, and perhaps the only means, of determining if exclusionary difference exist between the samples being compared. The use of appropriate statistical methods for comparison is still being investigated and the SC supports these efforts of progress and has even identified this as a research need within trace evidence examinations. | Expert judgment is needed in all aspects of decision making in forensic science and stating this does not imply that statistics should be ignored. The SC also does not support the use of statistical methods that have not been validated or are unsuitable for a given set of samples. The inclusion of both expert judgment and statistical methods of comparison does not mean analysts are free to choose whatever approach they wish at the time. The selection of which approach is appropriate for a given comparison is part of the process in training an analyst to competency. When a statistical means of comparison is appropriate for a given technique, this statistical approach is discussed within the guide specific to that technique. | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | Exclusionary difference is defined as “3.2.12 exclusionary difference, a difference in a feature or property between compared items that is substantial enough to conclude that they did not originate from the same source. “Substantial enough” is not defined and is then followed by a description that appears to allow what is “substantial enough” to be determined by the individual examiner using her judgment. | This is one interpretation of the definition. | This definition was developed and approved by a consensus body of legal experts, statisticians, cognitive bias experts, and subject matter experts in the specific forensic disciplines to which this definition is being applied. It remains the best description as to how exclusionary differences are determined. | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | Under the definition of “exclusionary difference” (3.2.12) the following discussion is inserted “An exclusionary difference is statistically supported when an appropriate statistical analysis shows a result outside the range of what usually occurs when the items originate from the same source.” This is followed by “When a statistical analysis is not suitable, an exclusionary difference can be determined by expert judgment.” When an objective data driven approach is not “suitable” is never defined or explained. It seems likely that what is really meant is that “when a statistical analysis is not possible because there is no data from which to develop a validated statistical analysis, an exclusionary difference can be determined by expert judgment.” That, in the absence of data from which to develop quantitative assessments, all that is available is “expert judgment” does not make “expert judgment” scientific or legally acceptable. This assertion that “expert judgment” is a substitute for a validated statistical analysis should be removed. Instead, whenever models and empirical evidence are absent, this should be acknowledged. | Expert judgment is needed to determine if/that a particular statistical analysis is relevant or appropriate for a given set of samples. Further, in the absence of an appropriate statistical analysis or in the absence of a set of samples conducive to statistical analysis, expert judgment is still an appropriate means of determining if exclusionary difference exist between the samples being compared. | Expert judgment is needed in all aspects of decision making in forensic science and stating this does not imply that statistics should be ignored. The SC also does not support the use of statistical methods that have not been validated or are unsuitable for a given set of samples. | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | Further, when using “expert judgment” the method’s estimated error rate must be reported or that the error rate is not currently known must be acknowledged. | No additional discussion on reporting "error rate" in tape examinations is necessary in this document. | The document is an over-arching guide for tape examinations. Specifics regarding the content of the resultant forensic report are outside the scope of this document. | Not Germane
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | We are not suggesting that differences which require no expertise to discern cannot be made without empirical evidence or a model or an estimate of error rates (e.g. red tape v. blue tape). Rather, our point is that beyond those differences that do not require expertise to assess, objective methods are preferred unless there is empirical evidence that “judgment” exceeds the performance of an objective method. | All determinations of exclusionary differences should only be conducted by subject matter experts. Some differences are more readily conveyed to a non-expert, but in accredited laboratories, all reported differences can only be proffered by personnel who have been competency tested, qualified, and approved to render such opinions. | Expert judgment is needed in all aspects of decision making in forensic science and stating this does not imply that statistics should be ignored. The SC also does not support the use of statistical methods that have not been validated or are unsuitable | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | In section 10 limitations are, as they should be, described for macroscopic and stereomicroscopical (10.6.1), polarized light microscopy (10.7.7), FTIR (10.8.5), Raman spectroscopy (10.9.3), and microspectrophotometry (10.14.3), but a critical limitation is missing that is common to each technique – the absence of data on the discriminating power of the information generated. With any comparison, and whether assessing similarities or differences, the absence of data from which to quantify the weight to be given to a specific difference or similarity, invites estimates with no scientific basis. | Technique-specific limitations are addressed in the standards that pertain to those specific techniques in relation to polymeric evidence, such as tape, but this standard and the existing technique-based standards each contain references on the discriminating power of the technique as it relates to the materials being tested. | This is a general guide to analyzing tape and the limitations would be a result of the technique not the tape material. This level of detail is beyond the scope of a general approach guidance document. | Not Germane
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | Our final concern is with section 5.4, which states: Typically, a tape examination involves searching for and assessing any differences in the comparison of questioned and known samples. The absence of exclusionary differences at the conclusion of an analysis suggests that the tape samples could share a common origin. The strength of the interpretation is a function of the type or number of corresponding features, or both. The evaluation of tapes for class characteristics can associate known and questioned tapes to a group but not to a single, individual source. A physical fit of tape ends provides the highest degree of association between two tapes. These interpretations of forensic tape comparisons are valid for determinations that are conducted via expert judgment, statistical means, or a combination of the two approaches. First, as noted above, claiming without demonstrating (or citing specific studies and acknowledging criticisms/limitations) that any technique or method is valid is a self-serving statement of the proponents of the method and diminishes the integrity of the registry. | References are given in this standard to support the techniques discussed in this guide. Specifically, with respect to a physical fit for tape, references are included, and a guidance document related to physical fit relationships is in draft with the SC. | The ability to determine a physical fit has been demonstrated and published in the relevant peer-reviewed media. | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | But as troubling here is that the “interpretations” that are claimed to be “valid” however they are arrived at – “expert judgment, statistical means, or a combination” – are poorly defined, if defined at all. | All concepts have been defined for use by qualified and approved subject matter experts. | All defined terms have been balloted and approved for use in this document. | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | What constitutes a class characteristic is not defined. | Defining "class characteristics" in this document is unnecessary because it is a common term that a qualified and approved subject matter expert would know. | The guide lists E1762, "Standard Terminology Relating to Forensic Science" in the "Referenced Documents" section. E1762 includes a definition of "class characteristic(s)". | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | While the section acknowledges that the evaluation of class characteristics cannot be used to identify an individual source, the section suggests that class characteristics, depending on the number and the type, can vary in their discriminating power. But the document does not provide any guidance on how a practitioner should or could weigh the type and number of corresponding features to estimate the size of the group to which the characteristic might be assigned. Nor does it address any limitations on estimating the size of the group. | No additions or changes to the document are necessary because these nuances are available in the referenced literature where specific types of tape are discussed. This is a general guide regarding many types of pressure sensitive tape materials. | Scope 1.3 reads, "This standard is intended for use by competent forensic science practitioners with the requisite formal education, discipline-specific training (see Practice E2917, Practice E3233), and demonstrated proficiency to perform forensic casework." Practice E3233 is "Practice for Forensic Tape Analysis Training Program" which includes training on the discrimination of different tape types and the discrimination power of the analytical protocol used. | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | As explained above the failure to address the absence of data and models from which to estimate the discriminatory power of the information gathered is not reflective of a “technically sound” standard that will produce “reproducible” results and has the potential to do much harm. | This is an opinion statement. | This is a general guidance document. Specific limitations and interpretations are included in other standards that are referenced in this guide. | Not persuasive
1 | Emily J. Prokesch |  |  | Technical | A PDF of the comment is attached for easier reading. | Section 5.4 also states that a “physical fit of tape ends provides the highest degree of association between two tapes” but again does not provide guidance on what degree of fit is required (e.g. 1 cm, more, less) and how this “highest degree of association” should be expressed. | References are given in this standard to support the techniques discussed in this guide. Specifically, with respect to a physical fit for tape, references are included, and a guidance document related to physical fit relationships is in draft with the SC. | The ability to determine a physical fit has been demonstrated and published in the relevant peer-reviewed media. | Not persuasive
|  |  |  | Technical | A PDF of the comment is attached for easier reading. | Section 5.4 acknowledges that the evaluation of class characteristics cannot be used to identify an individual source, the section suggests that class characteristics, depending on the number and the type, can vary in their discriminating power. But the document does not provide any guidance on how a practitioner should or could weigh the type and number of corresponding features to estimate the size of the group to which the characteristic might be assigned. Nor does it address any limitations on estimating the size of the group. | Technique-specific features which are examined as well as related limitations are addressed in the standards that pertain to those specific techniques in relation to polymeric evidence, such as tape. | Scope 1.3 reads, "This standard is intended for use by competent forensic science practitioners with the requisite formal education, discipline-specific training (see Practice E2917, Practice E3233), and demonstrated proficiency to perform forensic casework." Practice E3233 is "Practice for Forensic Tape Analysis Training Program" which includes training on the discrimination power of the analytical protocol used. | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Comment: The phrase “exclusionary difference” is not specific to this standard; therefore, we suggest placing it in § 3.1. | "Exclusionary difference" is not yet a part of E1732 and therefore is specifically referenced in each standard where it is used. | The term must be defined and the SC is reluctant to remove the term from any specific document until such time as sufficient documents exist within ASTM to add it to a "preferred terms" list in E1732. | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | 3.2.12.2 Discussion—When a statistical analysis is not suitable, an exclusionary difference can be determined by expert judgment. The fact that expert judgment is all that is available in many situations does not make it scientifically, statistically, or legally acceptable. A blanket declaration suggesting that expert judgment is necessarily a substitute for a validated statistical analysis should be avoided. We suggest the following alternative language: • When a statistical analysis is not suitable, an exclusionary difference sometimes can be determined appropriately by expert judgment. OR • When no statistical test is possible, when human judgment has been demonstrated to be superior to a strictly statistical judgment, or when a qualitative difference is so clear that it would be plainly and patently unreasonable to continue to entertain the hypothesis of a common source, an analyst may declare an exclusion without a formal statistical analysis. | Expert judgment is needed to determine if/that a particular statistical analysis is relevant or appropriate for a given set of samples. Further, in the absence of an appropriate statistical analysis or in the absence of a set of samples conducive to statistical analysis, expert judgment is still an appropriate means of determining if an exclusionary difference exist between the samples being compared, and is in fact in some instances, the only manner in which data from samples can be evaluated. Also, the FSSB is considering this term for its preferred terms list. | Expert judgment is needed in all aspects of decision making in forensic science and stating this does not imply that statistics should be ignored. Various statistical methods require background information and established probabilities of features which simply have not been established at this point. The SC also does not support the use of statistical methods that have not been validated or are unsuitable for a given set of samples. If the FSSB adopts a change to the term, the SC will consider this suggestion or any adopted by the FSSB. | Previously considered
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Section 5.4 - The standard does not define “class characteristics,” and different forensic science texts use somewhat different definitions. | Defining "class characteristics" in this document is unnecessary. | The guide lists E1732, "Standard Terminology Relating to Forensic Science" in the "Referenced Documents" section. E1732 includes a definition of "class characteristic(s)". | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Section 5.4 - The section asserts that a “physical fit of tape ends provides the highest degree of association between two tapes.” Does this assertion mean that “the tape samples could share a common origin” (emphasis added) or does it mean something stronger? It is written as if it is an elaboration of the preceding sentence about class characteristics and thus means that a physical fit is not an association “to a single, individual source.” | No changes to this document are necessary. | The document is an over-arching guide for tape examinations. Physical fit procedures, including those for tape examinations, are part of another document. Additionally, specifics regarding the content of the resultant forensic report are outside the scope of this document. | Not Germane
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Section 5.4 - What is the scientific basis for the assertion that tape comparisons are valid no matter how they are conducted (“via expert judgment, statistical means, or a combination”)? Have there been published studies of how well experts perform? | The scientific basis for this statement is derived, in part, from the knowledge as to how tape products are constructed. That knowledge is published in texts from tape industry experts and is referenced in E3233, the ASTM Tape Training Practice that is on the OSAC Registry. Specific forensic research on tape materials has been designed and published to validate this information. Additionally, studies have shown repeatedly that tape comparisons using various techniques are valid. | Multiple studies on the validity and discrimination power of individual techniques, as well as schemes utilizing multiple techniques, are referenced in the Bibliography. These studies include evaluation by "expert judgment" and "statistical means." They include references 1, 6, 13, 14, 15, 23, 26, 29, 31, 32, 33, 34, 35, 36, 37, 38, 44, 49, 53, 54, 55, and 58. | Previously considered
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Editorial | A PDF of the comment is attached for easier reading. | Section 6.1 - "The evaluation and interpretation of the data for each technique is an important part of an analytical scheme but it is outside the scope of this guide. These will be addressed in other ASTM standards. "Comment: We suggest moving this statement about the scope of the standard to § 1 (on scope). | Thank you for your comment. The SC used guidance provided by the ASTM E30.01 Committee Chair to develop this standard and has determined that no changes are necessary at this time. | ASTM guides follow a structured format based on other ASTM standard products (e.g., test methods, practices). | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Section 7.2 - Tape evidence can be a source for other trace evidence (for example, hairs, fibers, paint, glass, and explosives), latent print evidence, and DNA evidence. Different forensic disciplines are often called upon to examine the same item of evidence. The order in which the examinations are conducted should be resolved on a case-by-case basis. If another discipline is chosen to examine the evidence prior to the tape examination, obtain an unaltered representative sample if possible. Comment: Are there criteria for deciding the order in which to proceed? | This guide is specifically written to address the order of exams conducted on the tape product itself (i.e., the comparison of specific tape features). The question as to the order of other forensic examinations performed on evidence in which tape is the substrate material is not germane to this guide. | Tape can be evidence or the material upon which other evidence exists (e.g., latents, DNA, hairs, fibers). This guide is only concerned with examinations in which tape is the evidence being examined. | Not Germane
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Section 7.3 - 7.3 Techniques to separate tape specimens should be chosen with care to minimize alterations in the chemical or physical properties. Methods for separation include using warm air, liquid nitrogen, or appropriate solvents (for example, hexane, methanol) in concert with gentle physical manipulation. Comment: Could this section be expanded to detail which methods are best under various conditions? | The type of tape, its condition, the order of examinations, and the request for analysis will all factor into the decision as to if or how to separate tape specimens. Those specific choices can be best enumerated in training using practical samples which are readily accessible in the general marketplace. | No one method is "the best" for a specific type of tape. Trial and error in a training setting are the best ways for an examiner to appreciate the pros and cons of the suggested methods in order to develop an optimal approach in a given case. | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Section 7.4 - The item of evidence should be preserved in a manner that does not interfere with future testing. Comment: Could this section similarly be expanded to explain the methods that are available to preserve evidence, and which ones are best under various conditions? | The type of tape, its condition, the order of examinations, and the other requested examinations will all factor into the manner of preservation. The specific choice of how to preserve the tape is best enumerated in the training program. Adding the specific details in this document is not necessary. | The training program is the best setting for an examiner to be taught the various approaches towards preserving tape samples as well as the pros and cons of different approaches. | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Sections 10.6, 10.7, 10.8, 10.9, and 10.14 - Comment: Another limitation of all of these techniques is the inability to offer any quantification of the extent to which the information is discriminating. Could this be added to the list of limitations? | Technique-specific limitations are addressed in the standards that pertain to those specific techniques in relation to polymeric evidence, such as tape. | This is a general guide to analyzing tape and the limitations would be a result of the technique not the tape material. | Not Germane
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Technical | A PDF of the comment is attached for easier reading. | Regarding Section 10.15 Comment: The known sensitivity and specificity of the technique should be stated; if these are not known, the list of limitations should include a statement to that effect. | Technique-specific limitations are addressed in the standards that pertain to those specific techniques in relation to polymeric evidence, such as tape. | This is a general guide to analyzing tape and the limitations would be a result of the technique not the tape material. | Not Germane
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Editorial | A PDF of the comment is attached for easier reading. | Regarding Section 1.3 - The word “competent” is unnecessary. The standard presumably is not intended for use by other practitioners. | This is a mandatory word choice approved for use by ASTM E30. It is independent of this standard. | ASTM E30 balloted and approved this word choice because of comments that standards could be accessible (i.e., relatable and understandable) to all readers/stakeholders. Standards are written in E30 for subject matter experts who have been competency tested in their areas of expertise. | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Editorial | A PDF of the comment is attached for easier reading. | Regarding Section 1.3 - ASTM E2917 is a standard for general rather than “discipline-specific” training; therefore, the words “discipline-specific” are unnecessary. | The section refers to both E2917 (general) and E3260 (specific to forensic training in pressure sensitive tape analysis and comparison) | This is a mandatory word choice approved for use by ASTM E30 that was expanded to include tape analysis with the reference to E3260. | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Editorial | A PDF of the comment is attached for easier reading. | Regarding Section 3.1.1 - Comment: No other terms have been mentioned or defined yet; therefore, “additional” should be deleted. | Thank you for your comment. The SC used guidance provided by the ASTM E30.01 Committee Chair to develop this standard and has determined that no changes are necessary at this time. | This is an editorial comment and not relevant to the technical content/suitability of this standard for the OSAC Registry | Not persuasive
2 | Kent Cattani | Members of the OSAC Legal Task Group: Kent Cattani, Dana Delger, Todd Edelman, Jennifer Friedman, Lynn Garcia, Julia Leighton, Kate Philpott, Matt Redle, Barry Scheck, and Maneka Sinha |  | Editorial | A PDF of the comment is attached for easier reading. | Regarding Section 3.1.1 - Comment: Is there a “general forensic examination”? The phrase “commonly employed for general forensic examinations” should be “of general applicability to forensic-science examinations.” | Thank you for your comment. The SC used guidance provided by the ASTM E30.01 Committee Chair to develop this standard and has determined that no changes are necessary at this time. | This is an editorial comment and not relevant to the technical content/suitability of this standard for the OSAC Registry | Not persuasive
No response needed
Note on B1: ====== ID#AAAAIid9Spk (2021-05-19 11:01:00) These fields will be redacted when the comment adjudication is placed on the OSAC website.

## Terms and Definitions
Categories for adjudication of negative public comment for addition to registry
Term | Definition
Not Germane | Comment is not relevant to the subject of document being considered
Persuasive - review required | General agreement with comment given, further review by subcommittee required
Withdrawn by submitter | Comment withdrawn by submitter
Not persuasive | Justification for non persuasive rationale is indicated by committee action
Previously considered | Topic of comment was previously discussed and resolved by subcommittee*
No response needed | Comment does not require a response
*If all commenters express the same or similar reasoning for not moving a document forward, the OPO looks to confirm that all similar comments have the same adjudication response (e.g. Persuasive, Not Persuasive, etc.). We also look to confirm that the response provided by the unit is the same or similar. This is to ensure that when the final comment(s) and response(s) are published to the OSAC website, that viewers have a clear understanding of the unit's perspective on a given issue.