Winter 2009

U.S. National Work Group (USNWG) for the Development of Commercial Hydrogen Measurement Standards

By Juana Williams

The U.S. National Work Group (USNWG) for the Development of Commercial Hydrogen Measurement Standards met on August 26 and 27, 2008, at Air Products and Chemicals Inc., Allentown, Pennsylvania.  Both the Device Subcommittee and Fuel Specifications Subcommittee met to further the development of legal metrology requirements for hydrogen refueling applications.  An overview of key topics discussed by each Subcommittee is included in the articles below.  The USNWG Subcommittee’s meeting summaries will be available on the NIST WMD web sit at http://ts.nist.gov/WeightsAndMeasures/index.cfm under “W&M Resources” click on the link to “Developing Commercial Hydrogen Measurement Standards.”  This article provides an overview of the USNWG discussions, upcoming meeting schedule, and related national activities.

USNWG Devices Subcommittee (DS) August 2008 Meeting

The DS revisited several specification paragraphs that apply to equipment design and discussed other paragraphs in the proposed Hydrogen Gas Measuring Devices code that apply to the performance test of hydrogen dispensers.

Design Specifications - The DS agreed that the design requirement which permits making adjustments to the ratio between the indicated and actual delivered quantity of product is intended to apply to elements and features in the system that affect only the indications (e.g. change the flow calibration factor).  The DS is also considering further modification to the proposal to include definitions for “device” and “assembly” to further clarify where adjustments are permissible.  The DS discussed the inherent design of nozzles that might allow a small amount of air to be trapped during pressurization and result in contamination of the fuel entering the sample bottle.  The DS would like some guidance on how to ensure that no connection can occur between a nozzle and vehicle tank when there is a difference in the pressure ratings for these two components.

Performance Tests - The DS recognized that it is possible during the fill process for hydrogen to heat the test tank which introduces uncertainty into the test procedure.  This effect along with high pressures during fill may affect the geometry of a tank and affect the test results during the volumetric test methods.  The DS agreed to postpone its discussions of the minimum test draft and tank sizes necessary to simulate various fills (e.g., 1/3, 2/3, and 3/3 fill) so that it can harmonize wherever possible with SAE guidelines on fill protocol to be published in December 2008.  The DS agreed that the flow rates and pressures achieved during the test should represent those that occur during normal delivery and include the scenario of topping off the tank to demonstrate any variables that have an effect on the system’s performance.  It is anticipated the SAE report will address fill protocols that avoid over heating and over filling the vehicle tank.  If controls on the flow rate are necessary to meet the fill protocol, then the DS will need to address the question of whether or not this feature will interfere with the test of the performance of the dispenser at the manufacturer’s declared minimum measured quantity.  As the DS began its review of accuracy requirements, equipment manufacturers were not in agreement on the ability of their equipment to achieve the  proposed 1.5 % Acceptance Tolerance and 2 % Maintenance Tolerance.  The proposed tolerances agree with the maximum permissible errors specified in corresponding OIML Recommendation 139 “Compressed gaseous fuel measuring systems for vehicles.”  A majority of manufacturers indicate obtaining accuracies of 3 % to 10 % for equipment in use.  The DS will continue its discussion of tolerances and user requirements, test procedures, and collection of test data at the upcoming December 2008 meeting.

USNWG Fuel Specifications Subcommittee (FSS) August 2008 Meeting

The August meeting marked Robert “Bob” Boyd’s (Linde North America, Inc.) first meeting as Chair of the Subcommittee.

The FSS reviewed draft code proposals for method of sale (MOS) and fuel quality requirements for commercial hydrogen refueling applications.

MOS - The FSS modified proposed requirements for marking and labeling equipment and signage in specific units of measurement for pressure.  The FSS now recommends use of the “megapascal” or the abbreviation for that term “MPa” as the SI unit (metric) of measurement for labeling pressures on refueling equipment and corresponding price signage rather than using the term “bar.”  The numerical value for the pressure rating will follow the letter “H” which identifies the fuel as hydrogen (e.g., H35 or H70).   The FSS agreed that the use of MPa is consistent with recent recommendations from the CSA America and SAE for labeling components with pressure ratings.   This modification also agrees with the FSS’s decision to follow guidelines in NIST Special Publication (SP) 330 The International System of Units (SI) and SP 811 Guide for the Use of the International System of Units (SI) for use of the SI measurement system.  The FSS also has under review 16 CFR Part 309 “Labeling Requirements for Alternative Fuels and Alternative Fueled Vehicles,” which includes the FTC requirements for posting the hydrogen fuel rating on dispensers.  In this instance a disclosure of the amount of the principal component of a fuel is expressed as a minimum percentage on a label in a fashion similar to what is now required in octane posting for gasoline pumps.

Fuel Quality - The FSS also discussed separate fuel quality standards for hydrogen fuel cell and internal combustion engine vehicles and a starting point for a fuel quality laboratory manual.  The FSS acknowledges there will be differences in the type and level of contaminants and particulates as a result of hydrogen production from different feedstock.  However, the FSS agreed to focus on the current proposed standard rather than begin discussions on separate fuel quality standards based on production sources or ICE and fuel cell vehicle configurations.

The current fuel quality proposal is the culmination of work by SAE, ISO, and later work by California.  Like California’s Division of Measurement Standards (DMS), the FSS agreed to move forward with the currently proposed table that specifies the maximum levels for contaminants and particulates in hydrogen fuel.  The DMS and FSS will work with this table as an interim standard until an accredited standards developing organization recognizes this or another fuel quality standard.

California law required the Division of Measurement Standards (DMS) to have hydrogen fuel quality standards in place on or before January 1, 2008.  California’s interim standard for hydrogen fuel quality took effect on September 11, 2008.  To read about this regulation go to http://www.cdfa.ca.gov/dms/hydrogenfuel/hydrogenfuel.html and click on “Hydrogen Fuel.”

Quality Laboratory Procedures - DMS continues its work on test procedures using the fuel sampling apparatus it obtained in March 2008.  The FSS also agreed that it will consider and not attempt to reinvent laboratory procedures under development by the ASTM.  The FSS will work to align the Method of Sale requirements with those in related hydrogen standards and continue its work to address Field Sampling Procedures and a Laboratory Manual for hydrogen dispensing applications.

Next Work Group Meeting

As this article goes to publication both Subcommittees of the U.S. National Work Group (USNWG) for the Development of Commercial Hydrogen Measurement Standards will have met (December 2 to 4, 2008, at MicroMotion, Inc. in Boulder, Colorado).

The hydrogen and weights and measures communities provided only a limited response to the USNWG’s request for test procedures and types of equipment that are currently in use to verify the performance of hydrogen refueling equipment.  The USNWG must now move forward to establish preliminary minimum specifications for standards, suitable laboratory and field test procedures, and guidelines on the uncertainties associated with gravimetric, volumetric, and master meter test methods with existing input from stakeholders.  Test procedures and performance data will be discussed at the December 2008 USNWG meeting.

Hydrogen Proposals Submitted to the National Conference on Weights and Measures Specifications and Tolerances and Laws and Regulations Committees

The USNWG submitted proposals to the 2009 agendas of the National Conference on Weights and Measures Specifications and Tolerances and Laws and Regulations Committees to include items on both Committees’ Developing Items Agendas.  These new proposals for draft codes are being developed by stakeholders in the legal metrology community and are intended to address the design, performance, and user requirements and test procedures for NIST Handbook 44 and new definitions and method of sale and fuel quality requirements for NIST Handbook 130 for gaseous hydrogen applications.  These proposals are being disseminated to encourage input from the weights and measures community on draft criteria and to promote participation of all stakeholders in their further development.