| # Last updated April 2003 | # Surge Protection Anthology # Annex A – Citations – Part 3 ### Recorded surge occurrences, surveys and staged tests | # Surges Happen! |
| --- | --- | --- |

This list of citations is organized in three sections, the first dealing with the low-voltage environment,

the second with occurrences in the medium-voltage environment, and the third with lighting parameters

that can influence the surges induced in low-voltage power distribution systems. See website for links to documents in blue.

#### Low-voltage (1000 V and less) power distribution systems

ACKERMANN, G., HUDASCH, M., SCHWETZ, S., and STIMPER, K., “Oberspannungen in Niederspannungsanlagen” [Overvoltages in low-voltage installations], ETZ Bd. 114 (1993).

—  Reports surge monitoring performed in Germany.

—  (In German, cited in IEC 62066)

ACKERMANN, G., SCHEIBE, K., and STIMPER, K., “Isolationgefahrdende Uberspannungen im Niederspannungsbereich,” [Overvoltages hazardous to insulation in low-voltage systems], ETZ, Bd 118 (1997).

—	Reports surge measurements in Germany that include “energy content” in Ws (watts x seconds).

—  (In German, cited in IEC 62066)

—	10 references

ALLEN, G.W. and SEGALL, D., “Monitoring of Computer Installation for Line Disturbances,” Presented at the IEEE Power Engineering Society Winter Meeting, New York, NY, Jan. 1974, Paper C74 (Conference preprint only.)

—	Reports occurrence rates at computer sites, recorded with memory scopes.

—	Possible artifact of insufficient writing speed discussed but not appended to conference preprint.

—	See IEEE Std C62.41.1-2002 data base for that discussion.

—	7 references

ASPNES, J.D., EVANS, B.W., and MERRITT, R.P., “Rural Alaska Electric Power Quality,” IEEE Transactions PAS-104, No.3, March 1985.

—	Survey with digital-output disturbance monitors.

—	Did not consider the effect of SPDs integrated in the instrument power supply that limited observed surges.

—	28 references, 2 discussions

BACHMAN, L., GULLBERG, M., STRICKLER, F., and SACHS, H., “An Assessment of Shipboard Power Line Transients,” Proceedings, International IEEE EMC Symposium, Aug. 1981.

—	Surge recordings with storage oscilloscope and disturbance analyzers.

BODLE, D.W., GHAZI, A.J., SYED, M., and WOODSIDE, R.L., Characterization of the electrical environment, University of Toronto Press, 1976.

—	  Book initially written from the communications point of view but applicable to AC power circuits.

—	 124 references, 320 pages

BULL, J.H. and NETHERCOT, M.A., “The frequency of occurrence and magnitude of short duration transients in low-voltage supply mains,” Radio Electronic Engineer, September 1964.

—	  Peak-reading recordings at substations, bus-bars, and point-of use.

—	  5 references

CANNOVA, S.F., “Short-Time Voltage Transients in Shipboard Electrical Systems,” IEEE Transactions IA-9, No.5, Sept/Oct 1973.

—	 Oscilloscope recordings and histograms.

—	18 references

DORR, D.S., “Point of Utilization Power Quality Study Results,” IEEE Transactions IA-31 No.4, ~July/August 1995.

—	  Presents results of four years of monitoring at 112 North American locations.

—	  Cites relatively low rate of occurrence of surges above 500 volts, suggesting that the proliferation of SPDs can be

the cause of this low incidence.

—	  Other Power Quality statistics include sags, swells, and outages.

—	 17 references

GOEDBLOED, J.J., “Transients in Low-Voltage Supply Networks,” IEEE Transactions EMC-29, No. 2, May 1987

—	 Shows rates of rise up to 30 kV s, peaks exceeding 3 kV.

—	 Contains extensive analysis of data.

—	 Avoids the use of ‘energy in the surge’ but defines ‘energy measure’ based on integral of v2dt.

—	 13 references

GOEDDE, G.L. DUGAN, R.C., ROWE, L.D, HARTANA, R., SKLIUTAS, J., and WALLING, R., “Full Scale Lightning Surge Tests of Distribution Transformers and Secondary Systems,” IEEE Transactions PWRD-7, No.3, July 1992.

—	 Low-side surges are known to cause failures of low voltage distribution transformers.

—	 Tests on low-side surges were found to consist of two basic components:

—	 The natural frequency of the system, responsible for corona discharge spots at secondary bushings.

—	 The inductive response of the system to the stroke current, responsible for transformer failures.

—	 11 references

GOLDSTEIN, M. and SPERANZA, P.D., “The Quality of U.S. Commercial AC Power,” Intelec Conference Proceedings, 1982.

—	 Monitoring with Dranetz 606-3 at Bell Telephone sites.

—	 Statistical discussion of relative percentages of disturbances based on arbitrary thresholds.

HAHN, G.J. and MARTZLOFF, F.D., “Surge Voltages in Residential Power Circuits,” IEEE Conference Paper, Summer Power Meeting, Portland OR July 1967.

Available as  Residential surges

—  First publication of the GE surge monitoring project

—  Later upgraded as IEEE Transactions PAS-89, No.6, July/Aug 1970 — See listing under Martzloff & Hahn.

HAIRABEDIAN, B. “A survey of Power Line Disturbances at Typical IBM Computer Installations in the U.S. for the Period 1988-1992.” Document Number TR 21 .1 507, IBM Corporation, Kingston NY, June 1992.

—	 The survey logged 22 201 monitor-days at 25 IBM computer sites.

—	 Frequency-distribution tables, Weibull profiles, histories of monthly events, and chronologies of vents.

—	 The composite results of the survey are compared with those of the 1972 and 1982 IBM surveys.

—	 93 pages, 5 references

HASLER, R. and LAGADEC, R, “Digital Measurement of Fast Transients on Power Supply Lines,” Proceedings, Third Symposium on EMC, Rotterdam, May 1979.

—	 Results of monitoring with a digital system show ring waves and nanosecond rise times near switching devices.

—	 1 reference (in German)

HUGHES, M.B. and CHAN, J.S., “Canadian National Power Quality Survey Results,” Proceedings, EPRIPQA’95 Conference 1995.

—	  Reports results of monitoring surge occurrences (only as part of a power quality survey).

—	  Three-year period at 550 sites classified as industrial, commercial, and residential, each for I month.

—	  8 references

KEY, T.S. “Diagnosing Power Quality-Related Computer Problems,” IEEE Transactions, IA-IS, No. 4, July/Aug. 1979.

—	 Records of disturbances and general discussion.

—	 Early version of the computer susceptibility curve that became “The CBEMA Curve.”

—	10 references

LENZ, J.E., “Basic Impulse Insulation Levels of Mercury Lamp Ballasts for Outdoor Applications,” Illuminating Engineering, Feb. 1964.

—	 Reports (in the discussion) oscilloscope recordings at pole-mounted transformers with 5.6 kV peaks, the

maximum surge recording in 120 V circuits found in the literature.

MARTZLOFF, F.D., Surge Suppression in a Typical Home Wiring System,” Declassified General Electric TIS Report 63GL97, 1963.

Available as  Typical home

—	  Injection of surges and their propagation in a residential power system.

—	  Examples of suppression achieved by selenium cells before the advent of metal-oxide varistors.

—	  2 references

MARTZLOFF, F.D. and HAHN, G.J., “Surge Voltages in Residential and Industrial Power Circuits” IEEE Transactions PAS-89, No. 6, July/Aug 1970.

Available as   Res&Ind

—	  Oscilloscope recordings show ring waves; peak detector recordings yield statistics.

—	  Documents the anecdotal story of clock motor failures.

—	  9 references

MARTZLOFF, F.D., “Transient Overvoltages in Secondary Systems,” Unclassified General Electric TIS Report 8ICRDI2I, 1981.

Available as  Secondary transients

—	 Capsule summary of data collected in the survey over the period of 1963-1970.

—	 Large-size reproductions of oscillograms contributed to IEEE Std C62.41

—  6 references

McEACHERN, A. Handbook of Power Signatures. Foster City, CA: Basic Measuring Instruments Publisher, 1989.

—  Reports generic types of disturbances.

—  Procedures on conducting a site survey.

MEISSEN, W., “Oberspannungen in Niederspannungsnetzen” [Overvoltages in low-voltage networks], ETZ Bd. 104, 1983. (In German)

—  The seminal paper proposing long waveform with extremely high energy-deposition capability (leading to the

development of German Standard DIN 0160, but no longer acknowledged by the IEC TC77).

—  Documents the effects of fuse blowing in industrial environments.

MELLITT, B., “Transient Voltages Generated by Inductive Switching in Control Circuits,” Proceedings lEE, vol. 121, No. 7, July 1974.

—  Shows field and laboratory recordings of bursts such as those involved in the IEC EFT specifications.

—  11 references

MINEGISHI, S., ECHIGO, H., and SATO, R., “Frequency Spectra of the Arc Current Due to Opening Electric Contacts in Air,” IEEE Transactions, EMC-31, No. 4, Nov. 1989.

—   Reports measurement in megahertz range of contact opening sequences.

—  11 references

ODENBERG, R. and BRASKICH, B.J., “Measurements of Voltages and Current Surges on the AC Power Line in Computer and Industrial Environments,” IEEE Transactions, PAS-104, No. 10, Oct. 1985.

—  Reports long-duration surges (1000 s).

—  5 references, 2 discussions

PELLETIN, J. and LEROY, J. “Experimentation réseaux témoins - Résultats de Ia campagne d’investigations 1973. Enregistrement de surtensions atmosphériques affectant Ies postes MTIBT et Ies derivations d’abonnés d’artères de distribution rurales - Analyse statistique des enregistrements. [Experiments on sample networks - Results from the 1973 investigation. -EDF - DER - M15-375 - May 1974. (In French, cited in IEC 62066)

—  Recordings of atmospheric overvoltages on MVILV stations and rural distribution lines

—  Statistical analysis of the recordings

PFEIFFER, W, and SHEERER, F., “Oberspannungen in Niederspannungsnetzen” [Overvoltages in low-voltage networks], ETZ Bd.1I3 (1992) pp 578-584. (In German, cited in IEC 62066)

—  Reports measurements conducted in Germany in the late eighties.

—  Source of several figures illustrating switching surges included in IEC 62066 and IEEE C62.41.1TM-2002.

POPOLANSKY, F., PROCHAKZKA, F., and SCHLAMP, M., “Frequency distribution of peak values of lightning overvoltages in a rural low-voltage network,” Proceedings,  21st  International Conference on Lightning Protection, Berlin, 1992.

—	 Statistics of the recording of lightning-induced surges in an overhead line.

RHOADES, W.T., “Characteristics of Unusual Power Mains Transients,” Proceedings, 1985 Zurich EMC Symposium, 1985.

—	 Transients associated with UPS operation and CRT flashover.

—	 5 references

SPERANZA, P.D., “A Look at the Quality of AC Power Serving the Bell System,” Bell Lab Record, JulyIAug. 1982.

—	 Generic report of recordings and statistical discussion.

STANDLER, R.B., “Transients on the mains in a residential environment,” IEEE Transactions EMC-31, No.2, May 1989.

—	 A digital oscilloscope was used to measure transients on the single-phase 120 V RMS mains in a residential environment.

—	 Waveforms are shown for transient overvoltages on the mains caused by three nearby lightning strikes and one unknown source. Statistical summaries are presented for all naturally occurring transients.

—	 Waveforms are presented for the transient caused by switching on various loads, resulting in rates of rise ranging from 6 kV/s to 17 kV/s.

—	 6 references

TRUEBLOOD, H.M. and SUNDE, E.D., “Lightning Observations in Buried Cables,” Bell System Technical Journal, XVIII, April 1949.

—	 Presents the concept of “stroke factor”.

WERNSTROM, H., BROMS, M., and BOBERG, S., “Transient Overvoltages on AC Power Supply Systems in Swedish Industry,” Report FOA E 30002-E2, Foorsvarets Forskningsanstaldt, Huvudavdelning 3, Sweden, 1984.

—	 Shows rise times in the range of 60 ns to 600 ns.

—	 Contains a graph of number of occurrences versus peaks.

—	12 references

Medium and high voltage power systems environment, lightning environment

AIEE Committee Report “Switching Surges - I - Phase to Ground Switching Voltages,” AIEE Transactions PAS-80, June 1961.

—	Comprehensive report, 1961 vintage, of the subject.

—  84 references, 10 discussions

BELHOMME, R., PLAMONDON, M., NAKRA, H., DESROSIERS, D., and GAGNON, C. “Case Study on the

Integration of a Non-Utility Induction Generator to the Hydro-Quebec Distribution Network,” IEEE

Transactions PWRD-10, No.3, July 1995.

—	 Investigates the influence of load, capacitive compensation, machine parameters on resulting overvoltages.

—	 Presents results of simulation of a distribution network.

—	11 references

BOEHNE, E.W. and LOW, S.S., “Shunt Capacitor Energization with Vacuum Interrupters — A Possible Source of Overvoltage,” IEEE Transactions, PAS-88, No. 9, Sept. 1969.

—	 Field tests and computer analysis for overvoltages on transformers and arresters, with proposed corrective                measures.

— 15 references, 11 discussions

GAIBROIS, G.L., MASHIKIAN, M.S., and JOHNSON, K., “Study of Lightning Current Magnitude Through Distribution Arresters,” EPRI Report No. EL-1140, Sept. 1979.

—	 Citation of long duration current in arresters.

—	8 references

GREBE, T.E., “Application of Distribution System Capacitor Banks and Their Impact on Power Quality,” IEEE Transactions IA-32, No.3, May/June 1996.

—	  Discussion of capacitor switching transients and magnification effects.

—   Provides several examples of recordings with the “PQ Node” instrument.

—	  Points out the need to evaluate energy considerations if MOVs are applied for mitigation.

—	6 references

MARTZLOFF, F.D., “Varistor Versus Environment: Winning the Rematch,” IEEE Transactions PWRD-1 No. 2, April 1986.

Available as  Winning rematch

—	Staged test of capacitor switching on remote MV side produces ring waves on low-voltage load.

—	Coordination between 3 kV and 480 V varistor-based SPDs.

—	5 references, I discussion

SABIN, D.D., “An Assessment of Distribution System Power Quality,” EPRI Report TR-106294-V2, 1996.

—	  Comprehensive statistical data base of power quality measurements collected during the EPRI Distribution Power

Quality (DPQ) Project.

—	15 references

#### Lightning-Related Citations

Note:  A on-line literature search on the keywords associated with “lightning” produces the number of “hits” shown below – thus giving an indication of the magnitude of the research over the years since electronic data bases were created (not starting with Franklin’s papers) and the resulting challenge of compiling a comprehensive bibliography – hence the limitation here to only those papers that were considered in the development of the IEEE C62.41.1TM-2002 “Guide on the Surge Environment in Low-Voltage AC Power Circuits.”

Lightning					15 791

Lightning + surge 			   	   2348

Lightning + current			   3306

Lightning + damage			   1130

Lightning + protection		   	   6349

Lightning + arrester 			   1816

Lightning + earth + electrode          139

ANDERSON, R.B. and ERIKSSON, A.J., “Lightning Parameters for Engineering Application,” ELECTRA No.69, 1980.

—	Probability of occurrence of lightning flashes.

—	Peak current amplitude and waveshape parameters.

—	55 references.

BARKER, P.P., MANCAO, R.T., KVALTINE, D.J., and PARRISH, D.E., “Characteristics of Lightning Surges Measured at Metal-Oxide Distribution Arresters,” IEEE Transactions PWRD-8, January 1993.

—	Recording of 1309 lightning surges at four sites of distribution systems.

—	Uses a modified MOV arrester as transducer to bring signals down to low-voltage input of recorder.

—	23 references

BEJLERI, M., RAKOV, V.A., UMAN, M.A., RAMBO, K.J., MATA, C.T., and FERNANDEZ, M.l., “Triggered lightning testing of an airport runway lighting system,” Proceedings, 25th International Conference on Lightning Protection, Rhodes, September 2000.

—	Injection of triggered lightning current into a runway lighting system at Camp Blanding.

—	Measurements of the dispersion of lightning current among ground rods and counterpoise.

—  3 references

BERGER, K., ANDERSON, R.B., and KRONINGER, H., “Parameters of Lightning Flashes,” ELECTRA No.41, 1975.

—	 The seminal paper on lightning parameters.

—	 Statistical distribution of 10 parameters, including peak current, charge, and waveshape parameters.

—	 8 references

CHOWDHURI, P., “Estimation of Flashover Rates of Overhead Power Distribution Lines by Lightning Strokes to Nearby Ground,” IEEE Transactions PWRD-4, No.3, July 1989.

—  Computation of flashover rates as a function of BIL.

—  18 references, 1 discussion

CHOWDHURI, P., “Parameters of Lightning Stokes and Their Effects on Power Systems.”  Conference Record, IEEE/PES Transmission and Distribution Conference, 2001

—  Describes effect on power system transmission lines: direct stoke, backflash, induction from nearby flashes

—  Presents a review of other published papers

—  Discusses front time and velocity, but not duration of the stroke current

—  16 references

CIANOS, N. and PIERCE, E.T., “A Ground-Lightning Environment for Engineering Usage,” Stanford Research Institute, Menlo Park, CA 94205, Aug 1972.

—	   Comprehensive statistics on the characteristics of lightning.

—	108 references, 136 pages

CUMM INS, K.L., MURPHY, M.J., BARDO, E.A., HISCOX, W.L., PYLE, R.B., and PIFER, K.E., “A Combined

TOA/MDF Technology Upgrade of the U.S. National Lightning Detection Network,” Journal of Geophysical

Research, Vol 103 No D8, April 1998.

—	 Summarizes the development and upgrade of the U.S. National Lightning Detection Network.

—	 Provides examples of the cumulative distribution of peak current.

—	 36 references

DARVENIZA, M. and UMAN, M.A., “Research Into Lightning Protection of Distribution Systems - Part II, Results from Florida Field Work 1978 and 1979,” IEEE Transactions PAS-103, No. 4,1984.

—	 Statistics on the occurrence of lightning.

—	 14 references

FERNANDEZ, M.I., RAMBO, K.J., STAPLETON, M.V., RAKOV, V.A., and UMAN, M.A., “Review of triggered

lightning experiments performed on a power distribution system at Camp Blanding, Florida, during 1996

and 1997.”  Proceedings, 24th International Conference on Lightning Protection, Birmingham, UK, 1998.

—	 Injection of triggered lightning current into several configurations at Camp Blanding.

—	 Review of tests reported in earlier papers and preview of forthcoming test reports.

—	 3 references

FERNANDEZ, M.I., RAKOV, V.A., and UMAN, M.A., “Transient currents and voltages in a power distribution system due to natural lightning,” Proceedings, 24th  International Conference on Lightning Protection, Birmingham, UK, 1998

—	 Opportunistic natural flash events at the triggered lightning facility of Camp Blanding.

—	 One flash event struck earth away from the line: electromagnetic coupling and injection via ground connections.

—	 One flash event struck the directly the overhead distribution line, equipped with MOV arresters at the time.

—  4 references

HARUKI, H., SUNAGA, M., KIMATA, R., and KATOH, J., “Development of a Lightning Current Waveform

Measuring System for 500 kV Overhead Transmission Lines, ”IEEE Transactions, PWRD-4, No. 3, July 1989.

—	  Reports submicrosecond rise times of lightning current and differences in winter and summer lightning in Japan.

—	  7 references

LYONS, W.A., ULIAZ, M. and NELSON, T.E., “Large Peak Current Cloud-to-Ground Lightning Flashes During the Summer Months in the Contiguous United States,”  Monthly Weather Review, August 1998.

—	 Detailed analysis and flash density maps based on data from the National Lightning Detection Network

—	 Reports geographical differences in the flash characteristics  (See Orville comments, 1999, below)

—	 55 references

MacGORMAN, D.R., MAIER, M.W., and RUST, W.D., “Lightning Strike Density for the Contiguous United

States From Thunderstorm Duration Records,” Report NUREGICR-3759, U.S. Nuclear Regulatory

Commission, 1984.

—	  Lightning strike density computed from aviation stations observations, presented as maps and tables.

—	16 references

ORVILLE, R.E., HENDERSON R.W., and PYLE, R.B., “Lightning Flash Characteristics: 1987, Interim Report,” EL-6413, Electric Power Research Institute, August 1989.

—  Statistics and maps of lightning ground flashes for Eastern United States.

—	 13 references

ORVILLE,  R.E., “Comments on ‘Large Peak Current Cloud-to-Ground Lightning Flashes During the Summer Months in the Contiguous United States’,”  Monthly Weather Review, Vol 127 No,8, August 1999.

—  Presents a discussion of the Lyons  et al. paper (See citation above under Lyons)

—  Expresses some doubts on the high peak currents cited in the literature

—  5 references

RAKOV, V.A. and UMAN, M.A., “On the Duration of Time Intervals Between Lightning Return Stokes, Proceedings, 22nd International Conference on Lightning Protection, Budapest, 1994.

—	 Electric field measurements and TV records of multiple strokes.

—	 Time intervals between two strokes can be less than one millisecond.

—	25 references

RAKOV, V.A., UMAN, M.A., FERNANDEZ, M.l., THOTTAPPILLIL, R., EYBERT-BERARD, A., BERLANDIS, J.P., RACHIDI, F., RUBINSTEIN, M., GUERRIERI, S., and NUCCI, C.A., “Observed electromagnetic environment close to the lightning channel,” Proceedings, 23rd  International Conference on Lightning Protection, Florence, Italy, 1996.

—	 Measurements at Camp Blanding of electric and magnetic fields at distances of tens to hundreds of meters from

point of strike.

—	  Comparisons with data from Kennedy Space Center and Fort McCIeIIand.

—	9 references

RUST, W.D., MacGORMAN, D.R. and ARNOLD, R.T., “Positive cloud-to-ground lightning flashes in severe storms,” Geophysical Research Letters, Vol 8 No.8, July 1981.

—	  Review of the occurrence of positive cloud-to-ground flashes based on measurement of electric field changes.

—	  Documents rise time and total duration of the flashes, but no data on current parameters.

—  12 references

## François Martzloff

##### END OF FILE “Citations Part 3”

## April 2003