**Panel IV: Building Environment and Using EM/Light – Overview & Best Practices and Use of Em/Light to Date, Gaps in Research**

David J. Weber, MD, MPH, FSHEA, FIDSA, FRCM1\*

1Division of Infectious Diseases, University of North Carolina at Chapel Hill

\*Corresponding author: David J. Weber, MD, MPH

 Bioinformatics Building, Suite 2163, Campus Box 7-3-

 130 Mason Farm Road, Chapel Hill, NC 28599-7030

 dweber@unch.unc.edu

There is substantial evidence that environmental contamination leads to patient acquisition of multidrug-resistant organisms (MDROs) and improved cleaning/disinfection reduce healthcare-associated infections (HAIs): 1) Hospital room surfaces are frequently contaminated withMDROs; 2) MDROs survive days to months; 3) rooms frequently inadequately cleaned; 4) Rooms are frequently contaminated post-terminal disinfection; 5) disinfection reduces contamination; 6) improved terminal disinfection reduces HAIs; 6) enhanced terminal disinfection (e.g., UV-C devices) reduces risk of MDR colonization/infection in subsequent patient admitted to the room; 7) enhanced terminal disinfection of rooms with a colonized or infected patient may lead to hospital-wide decrease in HAIs.

Ultraviolent light (UV) light is now widely used for terminal room decontamination of hospital rooms. Most devices use UV-C irradiation with a wavelength of 254nm. Advantages of UV devices for terminal room disinfection include the following: 1) reliable biocidal activity against a wide range of pathogens; 2) surfaces and equipment decontaminated; 3) demonstrated effectiveness to reduce healthcare associated infections (HAIs) in before-after studies and randomized clinical trial; and, 4) residual free and does not give rise to health and safety concerns. Limitations for using UV for terminal room disinfection include: 1) can only be done for terminal disinfection; 2) all patients and staff must be removed from room; 3) requires 5-15 min for killing of vegetative bacteria and 10-45 min for inactivation of spores (e.g., *C. difficile*); 4) requires direct or indirect line of sight for microbial inactivation; 5) substantial capital equipment costs; and 6) does not remove dust and stains which are important to patients/visitors.

Multiple clinical trials have demonstrated that use of a UV room disinfection device following standard cleaning/chemical disinfection of rooms that housed a patient with an MDRO results in a lowered risk of a subsequent occupant to develop colonization or infection with the MDRO and may lead to a hospital-wide decrease in MDROs. Although most study used a before-after design and did not determine that there was no change in hand hygiene and room cleaning compliance some studies have assessed hand hygiene and cleaning compliance and used a more sophisticated design (e.g., prospective cohort or randomized clinical trial).

Future research using UV room disinfection devices should focus on the following: 1) demonstrate overall hospital reduction in HAIs by using UV devices for patients on contact precautions (e.g., CRE); 2) assess effectiveness of room disinfection units when used for terminal disinfection of all patients (not just those on contact isolation); 3) assess effectiveness in other settings (e.g., nursing homes, day care centers, veterinary hospitals, etc.)

References

1. Rutala WA, Weber DJ. Best practices for disinfection of noncritical environmental surfaces and equipment in health care facilities: A bundle approach. Am J Infect Control. 2019 Jun;47S:A96-A105.
2. Chen LF, Knelson LP, Gergen MF, Better OM, Nicholson BP, Woods CW, Rutala WA, Weber DJ, Sexton DJ, Anderson DJ; CDC Prevention Epicenters Program. A prospective study of transmission of Multidrug-Resistant Organisms (MDROs) between environmental sites and hospitalized patients-the TransFER study. Infect Control Hosp Epidemiol. 2019 Jan;40(1):47-52..
3. Rutala WA, Kanamori H, Gergen MF, Knelson LP, Sickbert-Bennett EE, Chen LF, Anderson DJ, Sexton DJ, Weber DJ; the CDC Prevention Epicenters Program. Enhanced disinfection leads to reduction of microbial contamination and a decrease in patient colonization and infection. Infect Control Hosp Epidemiol. 2018 Sep;39(9):1118-1121.
4. Anderson DJ, Moehring RW, Weber DJ, Lewis SS, Chen LF, Schwab JC, Becherer P, Blocker M, Triplett PF, Knelson LP, Lokhnygina Y, Rutala WA, Sexton DJ; CDC Prevention Epicenters Program. Effectiveness of targeted enhanced terminal room disinfection on hospital-wide acquisition and infection with multidrug-resistant organisms and Clostridium difficile: a secondary analysis of a multicentre cluster randomised controlled trial with crossover design (BETR Disinfection). Lancet Infect Dis. 2018 Aug;18(8):845-853
5. Anderson DJ, Knelson LP, Moehring RW, Lewis SS, Weber DJ, Chen LF, Triplett PF, Blocker M, Cooney RM, Schwab JC, Lokhnygina Y, Rutala WA, Sexton DJ; CDC Prevention Epicenters Program. Implementation Lessons Learned From the Benefits of Enhanced Terminal Room (BETR) Disinfection Study: Process and Perceptions of Enhanced Disinfection with Ultraviolet Disinfection Devices. Infect Control Hosp Epidemiol. 2018 Feb;39(2):157-163.
6. Anderson DJ, Chen LF, Weber DJ, Moehring RW, Lewis SS, Triplett PF, Blocker M, Becherer P, Schwab JC, Knelson LP, Lokhnygina Y, Rutala WA, Kanamori H, Gergen MF, Sexton DJ; CDC Prevention Epicenters Program. Enhanced terminal room disinfection and acquisition and infection caused by multidrug-resistant organisms and Clostridium difficile (the Benefits of Enhanced Terminal Room Disinfection study): a cluster-randomised, multicentre, crossover study. Lancet. 2017 Feb 25;389(10071):805-814.
7. Weber DJ, Kanamori H, Rutala WA. 'No touch' technologies for environmental decontamination: focus on ultraviolet devices and hydrogen peroxide systems. Curr Opin Infect Dis. 2016 Aug;29(4):424-31.
8. Weber DJ, Rutala WA, Anderson DJ, Chen LF, Sickbert-Bennett EE, Boyce JM. Effectiveness of ultraviolet devices and hydrogen peroxide systems for terminal room decontamination: Focus on clinical trials. Am J Infect Control. 2016 May 2;44(5 Suppl):e77-84.
9. Weber DJ, Anderson D, Rutala WA. The role of the surface environment in healthcare-associated infections. Curr Opin Infect Dis. 2013 Aug;26(4):338-44.
10. Weber DJ, Anderson DJ, Sexton DJ, Rutala WA. Role of the environment in the transmission of Clostridium difficile in health care facilities. Am J Infect Control. 2013 May;41(5 Suppl):S105-10.