## Sheet1
Drop Test
Manufacturer:
| Model: |  |  |  | Serial Number:
| Requirement: | After being subjected to drops on each of its six surfaces from a height of 1.5 m onto a concrete floor, the instrument shall function correctly and alarm at a change in the radiation field.
| Note: | Comments are required when the requirement is not verified.
Instrument Mode of operation
| Source Data: | [5 empty] | Test Equipment Used:
| Ambient Conditions: |  | °C |  |  | % RH |  | mmHg
|  | Gamma Alarm Threshold: |  |  | (add units)
Gamma Maximum Range (for unitless displays only):
|  | Neutron Alarm Threshold: |  |  | (add units)
Neutron Maximum Range (for unitless displays only):
Alarm Indication Results (add units)
If applicable
|  | Cs-137 |  |  |  | Cf-252
| Readings | Pre-test Photons | Post-test Photons |  | Readings | Pre-test Neutrons | Post-test Neutrons
| 1 |  |  | (add units) | 1 |  |  | (add units)
| 2 |  |  |  | 2
| 3 |  |  |  | 3
| 4 |  |  |  | 4
| 5 |  |  |  | 5
| 6 |  |  |  | 6
| 7 |  |  |  | 7
| 8 |  |  |  | 8
| 9 |  |  |  | 9
| 10 |  |  |  | 10
| Mean | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
| COV % | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  |  | Acceptance Range
| #DIV/0! | to | #DIV/0! |  |  | #DIV/0! | to | #DIV/0!
| low (-15%) |  | high (+15%) |  |  | low (-15%) |  | high (+15%)
|  | Acceptance Range (unitless displays only): |  |  |  |  | Acceptance Range (unitless displays only):
|  | to |  |  |  |  | to
| low 10% or -1 |  | high 10% or +1 |  |  | low 10% or -1 |  | high 10% or +1
Did the instrument alarmed due to the drop?
| Alarm | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6
Yes
No
Did the instrument produced a gamma alarm when exposed to a source after the drop?
| Alarm | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6
Yes
No
Did the instrument controls function properly?
| Controls | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6
Yes
No
Did the instrument show visible external damage?
| Damage | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6
Yes
No
If applicable
Did the instrument produced a neutron alarm when exposed to a source after the drop?
| Alarm | Position 1 | Position 2 | Position 3 | Position 4 | Position 5 | Position 6
Yes
No
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: