## Sheet1
Magnetic Field
N42.32 Data Sheet Section 8.3
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | When exposed to direct current (DC) magnetic fields in all three mutually orthogonal orientations relative to a 10 gauss (1 mT) magnetic field, the instrument shall function correctly.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | % RH |  | mmHg
Test Equipment Used:
Source Data:
Instrument Mode of operation
|  | Gamma Alarm Threshold: |  |  | (add units)
Gamma Maximum Range (for unitless displays only):
|  | Neutron Alarm Threshold: |  |  | (add units)
Neutron Maximum Range (for unitless displays only):
Measurement Results
With Cs-137
| Initial Orientation |  |  | Second Orientation |  |  | Third Orientation
| Nominal | 10 Gauss |  | Nominal | 10 Gauss |  | Nominal | 10 Gauss
| Zero Intensity | (DC) |  | Zero Intensity | (DC) |  | Zero Intensity | (DC)
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
COV % | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  |  | Acceptance Range (unitless displays)
Initial Orientation: | #DIV/0! | to | #DIV/0! |  | Initial Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Second Orientation: | #DIV/0! | to | #DIV/0! |  | Second Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Third Orientation: | #DIV/0! | to | #DIV/0! |  | Third Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Measurement Results
With Cf-252
| Initial Orientation |  |  | Second Orientation |  |  | Third Orientation
| Nominal | 10 Gauss |  | Nominal | 10 Gauss |  | Nominal | 10 Gauss
| Zero Intensity | (DC) |  | Zero Intensity | (DC) |  | Zero Intensity | (DC)
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
COV % | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  |  | Acceptance Range (unitless displays)
Initial Orientation: | #DIV/0! | to | #DIV/0! |  | Initial Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Second Orientation: | #DIV/0! | to | #DIV/0! |  | Second Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Third Orientation: | #DIV/0! | to | #DIV/0! |  | Third Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Measurement Results
Without Sources
Gamma response
| Initial Orientation |  |  | Second Orientation |  |  | Third Orientation
| Nominal | 10 Gauss |  | Nominal | 10 Gauss |  | Nominal | 10 Gauss
| Zero Intensity | (DC) |  | Zero Intensity | (DC) |  | Zero Intensity | (DC)
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
COV % | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  |  | Acceptance Range (unitless displays)
Initial Orientation: | #DIV/0! | to | #DIV/0! |  | Initial Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Second Orientation: | #DIV/0! | to | #DIV/0! |  | Second Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Third Orientation: | #DIV/0! | to | #DIV/0! |  | Third Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
[5 empty] | Did the instrument alarm as a result of the magnetic field alone? | Yes | No
Initial orientation
Second orientation
Third orientation
Without Sources
Neutron response |  | (if applicable)
| Initial Orientation |  |  | Second Orientation |  |  | Third Orientation
| Nominal | 10 Gauss |  | Nominal | 10 Gauss |  | Nominal | 10 Gauss
| Zero Intensity | (DC) |  | Zero Intensity | (DC) |  | Zero Intensity | (DC)
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
COV % | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  |  | Acceptance Range (unitless displays)
Initial Orientation: | #DIV/0! | to | #DIV/0! |  | Initial Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Second Orientation: | #DIV/0! | to | #DIV/0! |  | Second Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Third Orientation: | #DIV/0! | to | #DIV/0! |  | Third Orientation: |  | to
| low -15% |  | high +15% |  |  | low 10% or -1 |  | high 10% or +1
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: