## Sheet1
Impact Test
N42.32 Data Sheet Section 9.3
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument’s response shall be unaffected by microphonic conditions such as those that may occur from low intensity impacts from sharp contact with hard surfaces. If the instrument has a neutron detector, the instrument’s response shall be tested with the 252Cf source.
| Note: | Comments are required when the requirement is not verified.
Instrument Mode of operation
| Source Data: |  |  |  |  | Test Equipment Used:
| Ambient Conditions: |  | °C |  | % RH |  | mmHg
|  | Gamma Alarm Threshold: |  |  | (add units)
Gamma Maximum Range (for unitless displays only):
|  | Neutron Alarm Threshold: |  |  | (add units)
Neutron Maximum Range (for unitless displays only):
Alarm Indication Results (add units)
If applicable
|  | Cs-137 |  |  |  | Cf-252
|  | Pre-test | Post-test |  |  | Pre-test | Post-test
| Readings |  |  |  | Readings
| 1 |  |  | (add units) | 1 |  |  | (add units)
| 2 |  |  |  | 2
| 3 |  |  |  | 3
| 4 |  |  |  | 4
| 5 |  |  |  | 5
| 6 |  |  |  | 6
| 7 |  |  |  | 7
| 8 |  |  |  | 8
| 9 |  |  |  | 9
| 10 |  |  |  | 10
| Mean | #DIV/0! | #DIV/0! |  | Mean | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! |  | STD | #DIV/0! | #DIV/0!
| COV % | #DIV/0! | #DIV/0! |  | COV % | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  |  | Acceptance Range
| #DIV/0! | to | #DIV/0! |  |  | #DIV/0! | to | #DIV/0!
| low (-15%) |  | high (+15%) |  |  | low (-15%) |  | high (+15%)
|  | Acceptance Range (unitless displays only): |  |  |  |  | Acceptance Range (unitless displays only):
|  | to |  |  |  |  | to
| low 10% or -1 |  | high 10% or +1 |  |  | low 10% or -1 |  | high 10% or +1
Did the instrument alarm during Impact without any source present?
|  | Impact front | Left side | Impact back | Right side | Top | Bottom
First Impact | Yes
No
|  | Impact front | Left side | Impact back | Right side | Top | Bottom
Second Impact | Yes
No
|  | Impact front | Left side | Impact back | Right side | Top | Bottom
Third Impact | Yes
No
Did the instrument alarm during the post-test with the source present?
Gammas: | Yes |  |  |  | Neutrons (if applicable): | Yes
| No |  |  |  |  | No
Comments:
Performed by: |  |  | Date:
Reviewed by: |  |  | Date: