## Sheet3
Interfering Ionizing Radiation
N42.32 Data Sheet Section 6.9
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | If the instrument has a neutron detector, the neutron detector shall be insensitive to photon radiation.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH | mmHg
Test Equipment:
Source Data:
Instrument Mode of operation
Verify
[7 empty] | Yes | No
Did the neutron alarm go off?
Were neutrons indicated during the exposure?
If neutrons are indicated, record neutron indication (include units)
Comments:
| Performed by: |  |  | Date:
| Reviewed by: |  |  | Date: