## Sheet1
Electrostatic Discharge
N42.32 Data Sheet Section 8.1
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument shall not be affected by exposure to electrostatic discharges at intensities of up to 6 kV using the contact discharge technique.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | % RH |  | mmHg
Test Equipment Used:
Source Data:
Instrument Mode of operation
|  | Gamma Alarm Threshold: |  |  | (add units)
Gamma Maximum Range (for unitless displays only):
|  | Neutron Alarm Threshold: |  |  | (add units)
Neutron Maximum Range (for unitless displays only):
Cs-137
| Pre-test readings |  |  | After 2kV discharge readings | After 4kV discharge readings | After 6kV discharge readings | post-test readings
1 |  |  | 1 |  |  |  |  | (add units)
2 |  |  | 2
3 |  |  | 3
4 |  |  | 4
5 |  |  | 5
6 |  |  | 6
7 |  |  | 7
8 |  |  | 8
9 |  |  | 9
10 |  |  | 10
Mean | #DIV/0! |  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV % | #DIV/0! |  | COV % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Acceptance range: |  |  | Acceptance range (unitless displays only):
| low (-15%) | #DIV/0! |  | low 10% or -1
| high (+15%) | #DIV/0! |  | high 10% or +1
[6 empty] | Yes | No
Did the instrument alarm as a result of the electrostatic discharge alone?
Cf-252 | (If applicable)
| Pre-test readings |  |  | After 2kV discharge readings | After 4kV discharge readings | After 6kV discharge readings | post-test readings
1 |  |  | 1 |  |  |  |  | (add units)
2 |  |  | 2
3 |  |  | 3
4 |  |  | 4
5 |  |  | 5
6 |  |  | 6
7 |  |  | 7
8 |  |  | 8
9 |  |  | 9
10 |  |  | 10
Mean | #DIV/0! |  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! |  | STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV % | #DIV/0! |  | COV % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Acceptance range: |  |  | Acceptance range (unitless displays only):
| low (-15%) | #DIV/0! |  | low 10% or -1
| high (+15%) | #DIV/0! |  | high 10% or +1
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: