## Sheet1
Temperature
N42.32 Data Sheet Section 7.1
Manufacturer:
Model: |  |  |  | Serial Number:
Requirement: | The instrument shall function correctly at temperatures from –20 ºC to +50 ºC. If the manufacturer specifies a broader operating temperature range, the instrument shall be tested at the broader temperature range specified by the manufacturer. Relative humidity shall be within the range specified in Table 1. NOTE: Level 1 Modification - Temperature range needs to be from 0°C to 50°C
Note: | Comments are required when the requirement is not verified.
Test Equipment:
Source Data:
| Ambient Conditions: |  | %RH |  | mmHg
Instrument Mode of operation
Cs-137 |  | Measurement Results
| Gamma Alarm Threshold: |  | μR/h |  |  | Exposure rate during test: |  | μR/h
Gamma Maximum Range (for unitless displays only):
| 22° C | 30° C | 40° C | 50° C | 10° C | 0° C | -10° C | -20° C
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Instrument alarmed during the test without additional source?
Yes
No
Instrument alarmed with additional source after the test?
Yes
No
|  |  |  | (± 15%) Acceptance Range: | #DIV/0! | to | #DIV/0!
[5 empty] | low 15% |  | high 15%
|  |  |  | Acceptance Range (unitless displays only): |  | to
[5 empty] | low 10% or -1 |  | high 10% or +1
Cf-252 |  | Measurement Results
(If applicable)
| Neutron Alarm Threshold: |  | (add units) |  |  |  |  | Source emission during test: |  | n/s
Neutron Maximum Range (for unitless displays only):
| 22° C | 30° C | 40° C | 50° C | 10° C | 0° C | -10° C | -20° C
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
COV % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Instrument alarmed during the test without additional source?
Yes
No
Instrument alarmed with additional source after the test?
Yes
No
|  |  |  | (± 15%) Acceptance Range: | #DIV/0! | to | #DIV/0!
[5 empty] | low 15% |  | high 15%
|  |  |  | Acceptance Range (unitless displays only): |  | to
[5 empty] | low 10% or -1 |  | high 10% or +1
Comments:
Performed by: | [5 empty] | Date:
Reviewed by: | [5 empty] | Date: