## Sheet1
Vibration
N42.32 Data Sheet Section 9.1
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument shall withstand exposure to vibrations associated with the operation of handheld or hand carried equipment. The physical condition and functionality of the instrument shall not be affected by exposure (e.g., solder joints shall hold, nuts and bolts shall not come loose). NOTE: Section not required for Level 1 testing.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data:
|  | Gamma Alarm Threshold: |  |  | (add units)
Gamma Maximum Range (for unitless displays only):
|  | Neutron Alarm Threshold: |  |  | (add units)
Neutron Maximum Range (for unitless displays only):
Instrument Reading - Cs-137
|  |  | After | After | After
|  | Before Vib | Position A | Position B | Position C
Exposure Rate
| 1 |  |  |  |  | (add units)
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| COV % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  | Acceptance Range (unitless displays only)
| #DIV/0! | to | #DIV/0! |  |  | to
| low (-15%) |  | high (+15%) |  | low 10% or -1 |  | high 10% or +1
| Did the unit alarm when exposed to a source after the test? |  |  |  |  | Position A | Position B | Position C
Yes
No
Did the unit alarm due to vibration alone? |  |  |  | Position A | Position B | Position C
Yes
No
Instrument Reading - Cf-252
If applicable
|  |  | After | After | After
|  | Before Vib | Position A | Position B | Position C
Count Rate
| 1 |  |  |  |  | (add units)
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| COV % | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | Acceptance Range |  |  |  | Acceptance Range (unitless displays only)
| #DIV/0! | to | #DIV/0! |  |  | to
| low (-15%) |  | high (+15%) |  | low 10% or -1 |  | high 10% or +1
| Did the unit alarm when exposed to a source after the test? |  |  |  |  | Position A | Position B | Position C
Yes
No
| Did the unit have external damage after the test? |  |  |  |  | Position A | Position B | Position C
Yes
No
| Did all control functions operate correctly after the test? |  |  |  |  | Position A | Position B | Position C
Yes
No
Comments:
| Performed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: