## Sheet1
Humidity
N42.32 Data Sheet Section 7.3
Manufacturer:
| Model: |  |  |  | Serial Number:
| Requirement: | The instrument shall function correctly over the range of relative humidity from 40% to 93 % RH at 35 ºC.
| Note: | Comments are required when the requirement is not verified.
Test Equipment:
Source Data:
|  | Ambient Conditions: |  | mmHg
Instrument Mode of operation
Measurement Results - Cs-137
| Gamma Alarm Threshold: |  | μR/h |  |  | Exposure rate during test: |  | μR/h
Gamma Maximum Range (for unitless displays only):
Nominal
|  |  | 40% RH | 93% RH | 40% RH
|  |  | 22° C | 35° C | 35° C
|  | 1 |  |  |  | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0!
|  | STD | #DIV/0! | #DIV/0! | #DIV/0!
|  | COV % | #DIV/0! | #DIV/0! | #DIV/0!
Instrument alarmed during the test without additional source?
Yes
No
Instrument alarmed with additional source after the test?
Yes
No
Acceptance Range
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low 15% |  | high 15%
Acceptance Range (unitless displays only):
to
|  |  | low 10% or -1 |  | high 10% or +1
Measurement Results - Cf-252
(If applicable)
| Neutron Alarm Threshold: |  | (add units) |  |  |  |  | Source emission during test: | n/s
Neutron Maximum Range (for unitless displays only):
Nominal
|  |  | 40% RH | 93% RH | 40% RH
|  |  | 22° C | 35° C | 35° C
|  | 1 |  |  |  | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0!
|  | STD | #DIV/0! | #DIV/0! | #DIV/0!
|  | COV % | #DIV/0! | #DIV/0! | #DIV/0!
Instrument alarmed during the test without additional source?
Yes
No
Instrument alarmed with additional source after the test?
Yes
No
Acceptance Range
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low 15% |  | high 15%
Acceptance Range (unitless displays only):
to
|  |  | low 10% or -1 |  | high 10% or +1
Comments:
| Performed by: | [5 empty] | Date:
| Reviewed by: | [5 empty] | Date: