## Sheet1
Sections 5.9 - Reference Point Marking
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirements: | The instrument shall have reference points on both the front, or back, and side of the instrument indicating the effective center of the detector.
| Note: | Comments are required when the requirement is not verified.
Verify
[5 empty] | Yes | No
Are the reference points marked on the front or back and side indicating the effective center of the detector?
Comments:
| Completed by: |  |  | Date:
| Reviewed by: |  |  | Date: