## Section 8.5
Section 8.5 Magnetic Field
Test and Data Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument should be fully functional when exposed to DC magnetic fields in three orientations relative to a 10 gauss magnetic field. Provide pictures of orientations.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Gamma Source Data:
Neutron Source Data:
Measurement Results Without Sources
|  |  |  | Yes | No
Were there any functional changes?
NOTE – functional changes include alarms or spurious indications.
Orientation
|  |  |  | Initial |  | Second |  | Third
|  |  |  | Yes | No | Yes | No | Yes | No
Did the instrument alarm during the test?
Did the instrument display spurious indications?
Observations:
Measurement Results With Cs-137
| Initial Orientation |  |  | Second Orientation |  |  | Third Orientation
| Nominal | 10 Gauss |  | Nominal | 10 Gauss |  | Nominal | 10 Gauss
| Zero Intensity | (DC) |  | Zero Intensity | (DC) |  | Zero Intensity | (DC)
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! |  | Conf-Int (-) | #DIV/0! |  | Conf-Int (-) | #DIV/0!
| Conf-Int (+) | #DIV/0! |  | Conf-Int (+) | #DIV/0! |  | Conf-Int (+) | #DIV/0!
Acceptance Range
|  | Initial Orientation: | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
|  | Second Orientation: | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
|  | Third Orientation: | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
Measurement Results With Cf-252
| Initial Orientation |  |  | Second Orientation |  |  | Third Orientation
| Nominal | 10 Gauss |  | Nominal | 10 Gauss |  | Nominal | 10 Gauss
| Zero Intensity | (DC) |  | Zero Intensity | (DC) |  | Zero Intensity | (DC)
1 | [8 empty] | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0! |  | Conf-Int (-) | #DIV/0! |  | Conf-Int (-) | #DIV/0!
| Conf-Int (+) | #DIV/0! |  | Conf-Int (+) | #DIV/0! |  | Conf-Int (+) | #DIV/0!
Acceptance Range
|  | Initial Orientation: | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
|  | Second Orientation: | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
|  | Third Orientation: | #DIV/0! | to | #DIV/0!
|  |  | low -15% |  | high +15%
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: