## Section 5.12
Section 5.12 - Explosive Atmospheres
Test Data and Report
Manufacturer:
| Model: |  | Serial Number:
| Requirements: | The manufacturer shall state in its manual whether the instrument is certified for use in explosive atmospheres. If certification is claimed, documentation shall e provided by the manufacturer. Certification shall be based on UL-913-2002.
| Note: | Comments are required when the requirement is not verified.
Verify
[5 empty] | Yes | No
Is the instrument certified for explosive atmospheres?
If certified, has documented proof been provided?
Is compliance based on testing done in accordance with UL-913-2002?
Comments:
| Completed by: |  |  | Date:
| Reviewed by: |  |  | Date: