## Section 7.5
Section 7.5 Cold Temperature Start Up
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument shall be able to operate when switched on at the cold temperature limit (-20 ºC).
| Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Gamma Source Data:
Neutron Source Data:
Measurement Results
|  |  | Nominal | - 20 °C
|  | 1 |  |  | (add units)
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0!
|  | STD | #DIV/0! | #DIV/0!
|  | COV% | #DIV/0! | #DIV/0!
|  |  | Conf-Int (-) | #DIV/0!
|  |  | Conf-Int (+) | #DIV/0!
Acceptance Range
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low 15% |  | high 15%
Radionuclide Identification Results
|  |  | Nominal | - 20 °C
|  | ID 1 |  |  |  | Definitions of Radionuclides identified:
ID 2
|  | ID 3 |  |  |  | A: | Am-241, Co-60
|  | ID 4 |  |  |  | B:
|  | ID 5 |  |  |  | C:
|  | ID 6 |  |  |  | D:
ID 7
ID 8
ID 9
ID 10
Number Correct
Neutron (Cf-252) cps
Comments:
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: