## Section 8.1
Section 8.1 Electrostatic Discharge
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument shall be function properly during and after exposure to contact electrostatic discharges at intensities of up to 6 kV.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: |  | °C |  | % RH |  | mmHg
Test Equipment Used:
Gamma Source Data:
Neutron Source Data:
Exposure and/or Count Rate Response
| Pre Test |  |  | Post Test
| Gamma | Neutron |  | Gamma |  |  | Neutron
| (add units) | (add units) |  | 2 kV | 4 kV | 6 kV | 2 kV | 4 kV | 6 kV
1 |  |  | 1
2 |  |  | 2
3 |  |  | 3
4 |  |  | 4
5 |  |  | 5
6 |  |  | 6
7 |  |  | 7
8 |  |  | 8
9 |  |  | 9
10 |  |  | 10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0!
Acceptance Range
Gamma |  |  |  | Gamma 2 kV: Neutron
#DIV/0! | to | #DIV/0! |  | Gamma 2 kV: #DIV/0!; Gamma 4 kV: to; Gamma 6 kV: #DIV/0!
low (-15%) |  | high (+15%) |  | Gamma 2 kV: low (-15%); Gamma 6 kV: high (+15%)
Radionuclide Identification Test Results
Radionuclides Identified
|  | Pre Test | 2 kV | Gamma 2 kV: 4 kV; Gamma 4 kV: 6 kV
[7 empty] | A | Am-241, Co-60
ID 1 | bar: Neutron 2 kV
C
Did instrument alarm due to the ESD test alone? No source present |  | Yes
No
Comments:
| Performed by: |  |  | Gamma 4 kV: Date:
| Reviewed by: |  |  | Gamma 4 kV: Date: