## Section 7.4
Section 7.4 Moisture and dust protection
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Requirement: | The instrument case design shall meet the requirements stated for IP code 53 (see IEC 60529), which means that the instrument shall be protected from the ingress of dust and spraying water. For IP53, the ingress of dust is not totally prevented, but dust shall not penetrate in a quantity to interfere with satisfactory operation of the instrument or to impair safety, and water sprayed at an angle up to 60º on either side of the vertical shall have no harmful effects.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: |  | °C |  | %RH |  | mmHg
Test Equipment Used:
Source Data:
Measurement Results - Dust
| Pre-Test | Post-Test |  |  | Inspection Results:
1 |  |  | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0!
| Conf-Int (+) | #DIV/0!
Acceptance Range
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low (-15%) |  | high (+15%)
[7 empty] | Yes | No
Did the instrument respond throughout the dust test?
Measurement Results - Moisture
| Pre-Test | Post-Test |  |  | Inspection Results:
1 |  |  | (add units)
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
COV% | #DIV/0! | #DIV/0!
| Conf-Int (-) | #DIV/0!
| Conf-Int (+) | #DIV/0!
Acceptance Range
|  |  | #DIV/0! | to | #DIV/0!
|  |  | low (-15%) |  | high (+15%)
[7 empty] | Yes | No
Did the instrument respond throughout the moisture test?
Comments
| Performed by: |  |  |  | Date:
| Reviewed by: |  |  |  | Date: