## Sheet2
Section 6.8.2.3 Unshielded SNM
Data Sheet and Report
Instrument:
| Model: |  |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | The monitor shall identify the following radionuclides, or at least those stated by the manufacturer at the reference speed for that specific application, or measurement cycle time as stated by the manufacturer: ⎯ HEU, RGPu, and WGPu.
| Note: | Comments are required when the requirement is not verified.
Transitory measurements
Single Radionuclide Identification SNM Unshielded Test Data
| Date Performed: |  | HEU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | WGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Radionuclide | Activity | Exposure rate | (add units)
HEU
RGPu
WGPu
Stationary measurements
Single Radionuclide Identification SNM Unshielded Test Data
| Measurement time: |  |  | min
| Date Performed: |  | HEU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | WGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Radionuclide | Activity | Exposure rate | (add units)
HEU
RGPu
WGPu
Comments:
| Prepared by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: