## Sheet2
Section 6.8.2.2 Single Radionuclide Identification - Unshielded
Data Sheet and Report
Instrument:
| Model: |  |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | The monitor shall identify the following radionuclides, or at least those stated by the manufacturer at the reference speed for that specific application, or measurement cycle time as stated by the manufacturer: ⎯ 40K, 57Co, 60Co, 67Ga, 99mTc, 131I, 133Ba, 137Cs, 192Ir, 201Tl, 226Ra, 232Th, DU, 241Am
| Note: | Comments are required when the requirement is not verified.
Transitory measurements
Single Radionuclide Identification Unshielded Sources Test Data
| Date Performed: |  | 40K
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 57Co
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 60Co
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 67Ga
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 99mTc
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 131I
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 133Ba
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 137Cs
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 192Ir
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 201Tl
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 226Ra
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 232Th
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 241Am
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Radionuclide | Activity | Exposure rate | (add units)
40K
57Co
60Co
67Ga
99mTc
131I
133Ba
137Cs
192Ir
201Tl
226Ra
232Th
DU
241Am
Stationary measurements
Single Radionuclide Identification Unshielded Sources Test Data
| Measurement time: |  |  | min
| Date Performed: |  | 40K
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 57Co
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 60Co
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 67Ga
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 99mTc
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 131I
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 133Ba
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 137Cs
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 192Ir
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 201Tl
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 226Ra
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 232Th
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 241Am
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Radionuclide | Activity | Exposure rate | (add units)
40K
57Co
60Co
67Ga
99mTc
131I
133Ba
137Cs
192Ir
201Tl
226Ra
232Th
DU
241Am
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: