## Sheet2
Section 6.8.4 Simultaneous Radionuclide Identification
Data Sheet and Report
Instrument:
| Model: |  |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | a. The monitor shall have the ability to identify more than one radionuclide simultaneously. Simultaneous identification ability shall consist of radionuclides from separate categories (e.g., 99mTc + 137Cs, 131I + RGPu). b. The monitor shall have the ability to identify a radionuclide of interest when combined with other radionuclides.
| Note: | Comments are required when the requirement is not verified.
Transitory measurements
Simultaneous Radionuclide Identification Test Data
| Date Performed: |  | 40K + 226Ra + 232Th + RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 40K + 226Ra + 232Th + DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 99mTc+ DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 131I + RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Mix | Radionuclide | Activity | Exposure rate | (add units)
|  |  |  | 40K + 226Ra + 232Th + RGPu | 40K
226Ra
232Th
RGPu
|  |  |  | 40K + 226Ra + 232Th + DU | 40K
226Ra
232Th
DU
|  |  |  | 99mTc + DU | 99mTc
DU
|  |  |  | 99mTc + RGPu | 99mTc
RGPu
Stationary measurements
Simultaneous Radionuclide Identification Test Data
| Measurement time: |  |  | min
| Date Performed: |  | 40K + 226Ra + 232Th + RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 40K + 226Ra + 232Th + DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 99mTc+ DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 131I + RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Mix | Radionuclide | Activity | Exposure rate | (add units)
|  |  |  | 40K + 226Ra + 232Th + RGPu | 40K
226Ra
232Th
RGPu
|  |  |  | 40K + 226Ra + 232Th + DU | 40K
226Ra
232Th
DU
|  |  |  | 99mTc + DU | 99mTc
DU
|  |  |  | 99mTc + RGPu | 99mTc
RGPu
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: