## Sheet2
Section 6.8.3 Identification of Shielded Radionuclides
Data Sheet and Report
Instrument:
| Model: |  |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | 6.8.3.1 Requirements based on shielding related to shipping containers The manufacturer shall provide a list of shielded radionuclides that the monitor can identify. For this standard, the source is surrounded by 3 cm of steel on all sides. The list shall contain the following radionuclides, as a minimum: ⎯ 133Ba, 137Cs, and 60Co NOTE—3 cm steel is based on possible shipping container configurations and attenuation of gamma-ray emissions from each radionuclide. 6.8.3.2 Requirements based on medical treatments The manufacturer shall provide a list of radionuclides that the monitor can identify when monitoring people with medical treatments. For this standard, the source is surrounded by 7.62 cm of polymethyl methacrylate (PMMA). See Table 3 for additional information. The list shall contain the following radionuclides, as a minimum: ⎯ 67Ga, 99mTc, 131I, 201Tl
| Note: | Comments are required when the requirement is not verified.
Transitory measurements
Identification of Shielded Radionuclides Test Data
| Date Performed: |  | 133Ba
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 137Cs
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 60Co
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 67Ga
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 99mTc
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 131I
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 201Tl
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Radionuclide | Activity | Exposure rate | (add units)
60Co
67Ga
99mTc
131I
133Ba
137Cs
201Tl
Stationary measurements
Identification of Shielded Radionuclides Test Data
| Measurement time: |  |  | min
| Date Performed: |  | 133Ba
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 137Cs
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 60Co
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 67Ga
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 99mTc
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 131I
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 201Tl
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  |  | Date | Radionuclide | Activity | Exposure rate | (add units)
60Co
67Ga
99mTc
131I
133Ba
137Cs
201Tl
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: