## Sheet1
Section 6.7 Background Effects
Data Sheet and Report
Instrument: | Manufacturer Name of Instrument
Model: | Model | [6 empty] | Serial Number: | 0
Date Performed: | [7 empty] | Test Location:
Background Reading:
Temperature: |  | ° C |  | Humidity: | % |  |  | Pressure: |  | In. Hg.
Requirement: | The monitor shall provide a warning indication when a change in background is large enough to cause a change in alarm probability. The indication shall be visual and audible, and shall be different than monitoring alarms.
Note: | Comments are required when a test is failed.
Source Data:
Test Data
Test Number | 137Cs |  |  |  | 252Cf
| Background Change Indication |  |  |  | Background Change Indication
| (Choose One) |  |  |  | (Choose One)
1 |  | Yes | No |  |  | Yes | No
2 |  | Yes | No |  |  | Yes | No
3 |  | Yes | No |  |  | Yes | No |  |  | `
Test Results
| Monitor indicated background change during exposure to 137Cs | [5 empty] | Pass
Fail
| Monitor indicated background change during exposure to 252Cf | [5 empty] | Pass
Fail
Comments:
Completed by: | [7 empty] | Date:
Reviewed by: | [7 empty] | Date:

## Sheet2
Section 6.7 Background Effects
Data Sheet and Report
Instrument:
Model: | [8 empty] | Serial Number:
Date Performed: | [8 empty] | Test Location:
Requirement: | The monitor shall provide a warning indication when a change in background is large enough to cause a substantial change in alarm probability. The indication shall be visual and audible and shall be different than monitoring alarms.
Note: | Comments are required when the requirement is not verified.
Test Data
Background Reading: |  |  | (add units)
Temperature: |  | °C |  |  | Humidity: | % |  |  | Pressure: |  | mmHg
Source Data:
Test Number | 137Cs |  |  |  |  | 252Cf
| Background Change Indication |  |  |  |  | Background Change Indication
| (Choose One) |  |  |  |  | (Choose One)
1 |  | Yes |  | No |  |  | Yes | No
2 |  | Yes |  | No |  |  | Yes | No
3 |  | Yes |  | No |  |  | Yes | No |  |  | `
Verify
[10 empty] | Yes | No
Is the visual indication for gammas different from the gamma monitoring alarm?
Is the audible indication for gammas different from the gamma monitoring alarm?
Is the visual indication for neutrons different from the neutron monitoring alarm?
Is the audible indication for neutrons different from the neutron monitoring alarm?
Comments:
Completed by: | [8 empty] | Date:
Reviewed by: | [8 empty] | Date: