## Sheet1
Section 5.11.2.3 Basic Indications and Functions
Data Sheet and Report
Instrument:
Model: |  | Serial Number:
Date Performed: |  | Test Location:
Requirement: | The following information and control shall be provided for the trained user. - View operational status - View alarm indication. - Ability to reset alarms - View identified radionuclide(s) (user selectable through advanced or supervisory access)
Note: | Comments are required when the requirement is not verified.
Verify
|  |  |  | Yes | No
The operational status can be viewed?
The alarm indication can be viewed?
The trained user has the ability to reset the alarms?
The identified radionuclides can be viewed?
Is the viewing of identified radionuclides user selectable through advance or supervisory access?
Comments:
Completed by: |  |  | Date:
Reviewed by: |  |  | Date: