## Sheet1
Section 5.9 Effective Range of Measurement
Data Sheet and Report
Manufacturer:
Model: |  | Serial Number:
Date Performed: |  |  | Test Location:
Requirement: | The following list details effective ranges of measurement: • The effective gamma-ray energy response range shall be stated by the manufacturer, and should be at least 50 keV to 3000 keV. • The manufacturer shall state the range for gamma-ray count rate measurement and for neutron count rate indication.
Note: | Comments are required when the requirement is not verified.
What is the stated gamma energy range?
What is the stated gamma count rate range?
What is the stated neutron count rate range?
Comments:
Completed by: |  |  | Date:
Reviewed by: |  |  | Date: