## Sheet1
Section 6.10 Overload Test
Test Data and Report
Manufacturer:
Model: |  |  |  |  | Serial Number:
Date Performed: | [6 empty] | Test Location:
Requirement: | If a monitor is exposed to a radiation field that is greater than the manufacturer-stated maximum during an occupancy, or when performing measurements without an occupancy sensor, an alarm indicating, for example, “high background” or “high counts” shall be activated and shall remain activated until the radiation field is reduced or the alarm is reset/acknowledged by the user. If the alarm is reset/acknowledged by the user without the radiation field being reduced, a visual indication shall be provided indicating that the radiation field is still present and that the monitor is not fully operational. The time required to return to non-alarm condition after the exposure rate is returned to background levels shall not be greater than 1 min.
Note: | Comments are required when the requirement is not verified.
Background Reading: |  |  |  | (add units)
Temperature: |  | °C |  |  |  | Humidity: |  | % RH |  |  |  |  | Pressure: | mmHg
Source Data:
Maximum exposure rate stated by manufacturer: | [8 empty] | (add units)
|  |  |  | Count Rate Beginning |  | Alarm |  | Count Rate End |  |  | Recovery time (s) | The time to recover is ≤1min
[6 empty] | Y | N
[12 empty] | Yes | No
1
2
3
[9 empty] | Yes | No
Did the monitor provide an overload indication?
Describe:
Did the monitor alarm?
For DC operated monitors, does the monitor have the ability to operate from 12 V (11 V to 14.5 V)?
Did the alarm remain until the radiation filed was reduced to the pre-test level?
Did the monitor return to the pre-test count rate within 1 min from the removal of the source?
Comments:
Completed by: | [10 empty] | Date:
Reviewed by: | [10 empty] | Date: