## Sheet1
Section 7.1 Ambient Temperature
Test Data and Report
Manufacturer:
Model: |  |  |  |  | Serial Number:
Date Performed: |  |  |  |  | Test Location:
Requirement: | The monitor shall be able to operate over an ambient temperature range from −30°C to +55°C. The manufacturer shall state the temperature range for displays or user interface components intended for use in weather protected locations.
Note: | Comments are required when the requirement is not verified.
Test Data — non-spectroscopic systems
|  | Gamma Background Reading: |  |  |  | (add units)
|  | Neutron Background Reading: |  |  |  | (add units)
|  |  |  | Humidity: |  | % | Pressure: |  | mmHg
Gamma Source Data:
Neutron Source Data:
Pre-Test Data
Acceptance Range
Gamma Background
| Pre-Test 22°C |  |  | Pre-Test 22°C |  |  |  | #DIV/0! | to | #DIV/0!
| Ambient Gamma Background | Gamma |  | Ambient Neutron Background | Neutron Response |  |  | -15% |  | +15%
1 |  |  | (add units) |  |  | (add units) |  | Acceptance Range - Gamma
2
3 | [7 empty] | #DIV/0! | to | #DIV/0!
4 | [7 empty] | -15% |  | +15%
5
6
7 | [7 empty] | Acceptance Range
8 | [7 empty] | Neutron Background
9 | [7 empty] | #DIV/0! | to | #DIV/0!
10 | [7 empty] | -15% |  | +15%
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  |  | Acceptance Range - Neutron
COV | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | to | #DIV/0!
[8 empty] | -15% |  | +15%
Test Data
-30°C
|  |  | Beginning |  | 8hrs |  | 16 hrs
|  |  | Gamma Response | Neutron Response | Gamma Response | Neutron Response | Gamma Response | Neutron Response
1
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Record readings after 4 hours
|  |  | -20°C |  | 0°C |  | +40°C
|  |  | Gamma Response | Neutron Response | Gamma Response | Neutron Response | Gamma Response | Neutron Response
1
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
+55°C
|  |  | Beginning |  | 8hrs |  | 16 hrs
|  |  | Gamma Response | Neutron Response | Gamma Response | Neutron Response | Gamma Response | Neutron Response
1
2
3
4
5
6
7
8
9
10
|  | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Post-Test Data
|  | Post-Test 22°C |  |  |  | Post-Test 22°C
|  | Ambient Gamma Background | Gamma Response |  |  | Ambient Neutron Background | Neutron Response
| 1 |  |  | (add units) |  |  |  | (add units)
2
3
4
5
6
7
8
9
10
| Mean | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0!
Did the occupancy sensor trigger?
|  |  | Beginning |  | 8hrs |  | 16hrs
|  |  | Yes | No | Yes | No | Yes | No
-30°C
+55°C
Did the occupancy sensor trigger?
|  |  | Beginning |  | 4hrs
|  |  | Yes | No | Yes | No
-20°C
0°C
+40°C
Test Data —spectroscopic systems
|  | Gamma Background Reading: |  |  |  | (add units)
|  | Neutron Background Reading: |  |  |  | (add units)
|  |  |  | Humidity: |  | % | Pressure: |  | mmHg
Gamma Source Data:
Neutron Source Data:
Pre-Test Data
Pre-test 22°C
| Gamma Response | Neutron Response | List Isotopes Identified |  | Isotope Key |  |  | Acceptance Range - Gamma
| (add units) | (add units) |  |  | A - | 57Co |  | #DIV/0! | to | #DIV/0!
1 |  |  |  |  | B - | 60Co |  | -15% |  | +15%
2
3 | [7 empty] | Acceptance Range - Neutron
4 | [7 empty] | #DIV/0! | to | #DIV/0!
5 | [7 empty] | -15% |  | +15%
6
7 | [7 empty] | Identification Acceptance Range: 57Co
8 | [8 empty] | of
9
10
Mean | #DIV/0! | #DIV/0! | [5 empty] | Identification Acceptance Range: 60Co
STD | #DIV/0! | #DIV/0! | [6 empty] | of
CV | #DIV/0! | #DIV/0!
Test Data
- 30°C
| Beginning |  |  | 8hrs |  |  | 16 hrs
| Gamma Response | Neutron Response | Isotopes Identified | Gamma Response | Neutron Response | Isotopes Identified | Gamma Response | Neutron Response | Isotopes Identified
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| -20°C |  |  | 0°C |  |  | 40°C
| Gamma Response | Neutron Response | Isotopes Identified | Gamma Response | Neutron Response | Isotopes Identified | Gamma Response | Neutron Response | Isotopes Identified
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
55°C
| Beginning |  |  | 8hrs |  |  | 16 hrs
| Gamma Response | Neutron Response | Isotopes Identified | Gamma Response | Neutron Response | Isotopes Identified | Gamma Response | Neutron Response | Isotopes Identified
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
Post-Test Data
Post-test 22°C
| Gamma Response | Neutron Response | Isotopes Identified
| (add units) | (add units)
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0!
STD | #DIV/0! | #DIV/0!
CV | #DIV/0! | #DIV/0!
Test Report
Verify if monitor responses are within the acceptance ranges
|  | Gamma Response |  | Neutron Response |  |  | Identification
|  | Yes | No | Yes | No |  | Yes | No | N/A
55°C
40°C
0°C
-20°C
-30°C
Comments:
| Completed by: | [5 empty] | Date:
| Reviewed by: | [5 empty] | Date: