## Sheet1
Section 8.3 AC Line Voltage Operation
Test Data and Report
Manufacturer:
Model: |  |  |  |  | Serial Number:
Date Performed: |  |  |  |  | Test Location:
Requirement: | For those monitors capable of operating from 120/240 volts power, the requirement is: AC lines with a supply voltage that is within ±12 % of the nominal voltage and within ±3 % frequency.
Note: | Comments are required when the requirement is not verified.
Temperature: |  | °C | Humidity: |  | % | Pressure: |  | mmHg
Gamma Source Data:
Neutron Source Data:
Test Data
Nominal Voltage
Acceptance Range - Gamma
|  | Gamma | Neutron
| Readings |  |  |  | #DIV/0! | to | #DIV/0! | (add units)
| 1 |  |  |  | -15% |  | +15%
2
3
4
| 5 |  |  |  | Acceptance Range - Neutron
6
| 7 |  |  |  | #DIV/0! | to | #DIV/0! | (add units)
| 8 |  |  |  | -15% |  | +15%
9
10
| Mean | #DIV/0! | #DIV/0!
| STD | #DIV/0! | #DIV/0!
| COV | #DIV/0! | #DIV/0!
| Voltage +12% |  | Voltage -12% |  | 58Hz |  | 62Hz
| Gamma | Neutron | Gamma | Neutron | Gamma | Neutron | Gamma | Neutron
Readings
1
2
3
4
5
6
7
8
9
10
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Are Results Within Range?
|  |  |  | Yes | no
Voltage +12%
Voltage -12%
58 Hz
62 Hz
Comments:
Completed by: |  |  |  |  | Date:
Reviewed by: |  |  |  |  | Date: