## Sheet1
Section 6.14.3 Identification of Shielded Radionuclides
Data Sheet and Report
Manufacturer:
| Model: |  |  | Serial Number:
| Date Performed: |  |  |  | Test Location:
| Requirement: | 6.14.3.1 Requirements based on shielding related to shipping containers The manufacturer shall provide a list of shielded radionuclides that the monitor can identify. For this standard, the source is surrounded by 3 cm of steel on all sides. The list shall contain the following radionuclides, as a minimum: 133Ba, 137Cs, and 60Co NOTE—3 cm steel is based on possible shipping container configurations and attenuation of gamma-ray emissions from each radionuclide. 6.14.3.2 Requirements based on medical treatments The manufacturer shall provide a list of radionuclides that the monitor can identify when monitoring people with medical treatments. For this standard, the source is surrounded by 7.62 cm of polymethyl methacrylate (PMMA). The list shall contain the following radionuclides, as a minimum: 67Ga, 99mTc, 131I, and 201Tl
| Note: | Comments are required when the requirement is not verified.
Single Radionuclide Identification Test Data
| Temperature: |  | °C | Humidity: |  | % RH | Pressure: | mmHg
Transitory measurements
60Co
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
67Ga
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
99mTc
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
131I
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
133Ba
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
137Cs
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
201Tl
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  | Date | Radionuclide | Activity | Exposure rate | (add units)
60Co
67Ga
99mTc
131I
133Ba
137Cs
201Tl
Stationary measurements
|  | Measurement time: |  |  | min
60Co
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
67Ga
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
99mTc
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
131I
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
133Ba
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
137Cs
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
201Tl
| Date Performed: |  | Bottom | Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Source Information
|  | Date | Radionuclide | Activity | Exposure rate | (add units)
60Co
67Ga
99mTc
131I
133Ba
137Cs
201Tl
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: