## Sheet1
Section 6.12 Background Effects (Stationary)
Test Data and Report
Manufacturer:
Model: |  |  |  | Serial Number:
Date Performed: | [5 empty] | Test Location:
Requirement: | The monitor shall provide a warning indication when a change in background is large enough to cause a substantial change in alarm probability. The indication shall be visual and/or audible (the type of alarm shall be user selectable) and shall be different than monitoring alarms.
Note: | Comments are required when the requirement is not verified.
Gamma-ray Background Reading:
Neutron Background Reading:
Test Equipment:
Temperature: |  | °C |  |  | Humidity: |  | % RH |  |  |  | Pressure: | mmHg
Source Data:
Test Data
| 137Cs | [5 empty] | 252Cf
| Background Change Indication | [5 empty] | Background Change Indication
|  | Yes |  | No |  |  |  | Yes |  | No
Trial 1
Trial 2
Trial 3 | [11 empty] | `
Test Results
[9 empty] | Yes | No
Is the visual indication different from the monitoring alarm?
Describe:
Is the audible indication different from the monitoring alarm?
Describe:
Comments:
Completed by: | [10 empty] | Date:
Reviewed by: | [10 empty] | Date: