## Sheet1
Section 6.7 False Alarm Test
Data Sheet and Report
Manufacturer:
Model: | [5 empty] | Serial Number:
Date Performed: | [6 empty] | Test Location:
Requirement: | NOTE—False alarms may be caused by inadequate counting statistics, background intensity variations, and/or equipment malfunction. Gross-count rate capabilities are generally adjusted using alarm thresholds that interrelate overall sensitivity and false alarm rates. When tested in an area with a stable background (only natural fluctuations) at the levels stated in Table 1, the false alarm rate shall be less than 1 per 1000 occupancies or 1 alarm over a period of time that is equivalent to the time required to completely monitor 1000 objects for monitors that do not use occupancy sensors. The manufacturer shall provide an estimate of the background level at which the monitor will no longer meet these requirements, and state the minimum time required between occupancies to differentiate multiple vehicles or objects. The gamma-ray background intensity shall be measured using a pressurized ion chamber or similar environmental radiation measurement device that is calibrated with respect to NIST standards to provide gamma-ray exposure rate. If the monitor is equipped with neutron detectors, the neutron background should be the natural background and should not be artificially modified during testing.
Note: | Comments are required when the requirement is not verified.
Test Equipment:
Temperature: |  | °C |  | Humidity: |  | % RH |  | Pressure: | mmHg
| Number of Occupancies or test time |  | Number of gamma alarms |  | Number of neutron alarms |  | Number of identifications
|  |  | Gamma-ray Background Reading: |  |  | (add units)
|  |  | Neutron Background Reading: |  |  | (add units)
Comments:
Completed by: | [6 empty] | Date:
Reviewed by: | [6 empty] | Date: