## Sheet1
Section 6.9 Detector Response to Neutron Radiation
Test Data and Report
Manufacturer:
Model: |  |  |  | Serial Number:
Date Performed: | [5 empty] | Test Location:
Requirement: | An alarm shall be triggered when the monitor is exposed to a 252Cf neutron emission rate of 20,000 n/s for a duration speciﬁed by the manufacture or at the passage speed as appropriate for the monitor type being tested. The instrument response is acceptable when a minimum of 59 alarms occur in 60 occupancies.
Note: | Comments are required when the requirement is not verified.
Background Reading: |  |  | (add units) |  |  |  |  | Test Equipment:
Temperature: |  | °C | Humidity: |  | %RH |  | Pressure: | mmHg
Test Results
Source
252Cf
Source Data:
Source Activity:
[5 empty] | Number of Trials |  | Number of Alarms
Horizontal Plane
Bottom
Mid-Point Bottom/Middle
Middle
Mid-Point Middle/Top
Top
Comments:
Completed by: | [8 empty] | Date:
Reviewed by: | [8 empty] | Date: