## Sheet1
Section 6.11 Neutron Indication in the Presence of Photons
Test Data and Report
Manufacturer:
Model: |  |  |  |  | Serial Number:
Date Performed: | [6 empty] | Test Location:
Requirement: | Gamma radiation at exposure rates of up to 10 mR/h (100 μGy/h) (at the face of the center of the detection assembly) shall not trigger the neutron alarm. In addition, the monitor shall be able to detect an increase in neutron radiation while being exposed to gamma radiation.
Note: | Comments are required when the requirement is not verified.
Temperature: |  | °C |  |  |  | Humidity: |  | % RH |  | Pressure: | mmHg
Gamma Source Data:
Neutron Source Data:
Test Data
|  | Gamma Only |  | Gamma + unmoderated neutrons |  | Gamma + moderated neutrons
|  | Neutron Alarm |  | Neutron Alarm |  | Neutron Alarm
|  | Y | N | Y | N | Y | N
1
2
3
Comments:
Completed by: | [8 empty] | Date:
Reviewed by: | [8 empty] | Date: