## Sheet1
Section 5.11.1 Operating Parameters
Data Sheet and Report
Manufacturer:
Model: |  | Serial Number:
Date Performed: |  |  | Test Location:
Requirement: | The manufacturer shall provide the list of recommended operating parameters (e.g., alarm thresholds, detector voltage, gain). These parameters shall be used throughout testing.
Note: | Comments are required when the requirement is not verified.
Test Results
|  |  |  | Yes | No
Did manufacturer provide a list of recommended operating parameters?
List the parameters provided by the manufacturer:
Comments:
Completed by: |  |  | Date:
Reviewed by: |  |  | Date: