## Sheet1
Documentation
Data Sheet Section 5.2
Manufacturer:
Instrument:
Model: |  |  | Serial Number:
Date Performed: |  |  |  | Test Location:
Requirement: |  | Manufacturers shall provide instructions to verify proper operation of the instrument. Requirements are listed in Clause 10 (Documentation) of the ANSI/IEEE N42.48 standard.
| Note: | Comments are required when the requirement is not verified.
Requirement |  |  | Yes |  | No
The manufacturer provides report for type test results?
Verify that manufacturer contact information is available
Verify that the detector types are described in the manual
Verify that the type of instrument is described in the manual
Verify that the exposure rate information is available in the manual
Verify that reference point and reference orientation is describe in manual
Verify that the radiation energy region is described in manual
Verify that information on accuracy, linearity and lower limit of detections
Verify that results of calibration tests are available
Verify that information on weight and dimensions of instrument is available
Verify that information power supply (battery) requirements is available
Verify that information that test results under environmental conditions is available
Verify that results of electrical tests are available
Verify that results of mechanical tests are available
The manufacturer provides operating instructions?
The operating manual provides electrical diagrams?
The operating manual provides list of spare parts?
The operating manual provides instrument specifications?
The operating manual provides a troubleshooting guide?
Comments:
Performed by: |  |  | Date:
Reviewed by: |  |  | Date: