## Section 6.10
Section 6.10.5 Response to Unknown Radionuclide
Test Data and Report
Manufacturer:
Instrument:
| Model: |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | The instrument shall provide an indication (e.g., “unknown,” “unable to identify,” “not in library”) when exposed to radionuclides that are not in the library.
| Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: |  | °C |  | %RH | mmHg
Test Equipment Used:
Isotope Identification Results
(enter source used)
Date Performed: |  | 1
2
3
|  | 4 |  |  | 54Mn or 166mHo Source data:
5
6
7
8
|  | 9 |  |  | (check that one of these sources is not in the instrument library, if both in library need to choose a different radionuclide for this test)
10
Number Correct
Did the instrument ID correctly 8 out of 10 time?
|  | Date of Test | Radionuclide |  | Yes | No
(54Mn or 166mHo)
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: