## Sheet1
Section 6.8.4 Simultaneous Radionuclide Identification
Data Sheet and Report
| Instrument: | Manufacturer Name of Instrument
| Model: | Model |  |  |  | Serial Number: | 0
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | a. The monitor shall have the ability to identify more than one radionuclide simultaneously. Simultaneous identification ability shall consist of radionuclides from separate categories (e.g., 99mTc + 137Cs, 131I + RGPu). b. The monitor shall have the ability to identify a radionuclide of interest when combined with other radionuclides.
| Note: | Comments are required when a test is failed.
Simultaneous Radionuclide Identification Test Data
| Date Performed: |  | 40K + 226Ra + 232Th + RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 40K + 226Ra + 232Th + DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Simultaneous Radionuclide Identification Test Data
| Date Performed: |  | 99mTc+ DU
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
| Date Performed: |  | 131I + RGPu
|  |  | Bottom | Mid-point Bottom and Middle | Middle | Mid-point Top/Middle | Top
1
2
3
4
5
6
7
8
9
10
Corr
Simultaneous Radionuclide Identification Test Report
|  |  | Date of Test | Radionuclide |  | Pass | Fail
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date:

## Sheet2
Section 6.10.3 Simultaneous Radionuclide Identification
Data Sheet and Report
Manufacturer:
Instrument:
| Model: |  |  |  | Serial Number:
| Date Performed: |  |  |  |  | Test Location:
| Requirement: | The instrument shall be able to identify at least two radionuclides simultaneously. Use 99mTc + 137Cs for the test.
| Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH |  | mmHg
Simultaneous Radionuclide Identification Test Data
| Date Performed: |  | 99mTc + 137Cs |  |  | 99mTc Source data:
Unshielded
1
2
3
|  | 4 |  |  |  | 137Cs Source data:
5
6
7
8
9
10
Corr
Did the instrument categorized correctly 8 out of 10 time?
|  |  | Date of Test | Radionuclide |  | Yes | No
99mTc + 137Cs
Did the instrument ID correctly 8 out of 10 time?
|  |  | Date of Test | Radionuclide |  | Yes | No
99mTc + 137Cs
Comments:
| Completed by: |  |  |  |  | Date:
| Reviewed by: |  |  |  |  | Date: