## Section 6.2
Section 6.2 False Alarm Test
Test Data and Report
Manufacturer:
Model: |  |  |  | Serial Number:
Background Reading: |  |  | (add units)
Temperature: |  | ° C |  | Humidity: | % RH |  | Pressure: | mmHg
Requirement: | When tested in an area with a stable background (only natural fluctuations) at the levels stated in Table 1, the false alarm rate shall be less than 1 alarm over a period of 1 h.
Note: | Comments are required when the requirement is not verified.
Test Results
| Number of Alarms |  |  | Pass |  | Fail
Gamma
Neutron (if available)
Comments:
Completed by: | [5 empty] | Date:
Reviewed by: | [5 empty] | Date:
Draft 3