## Section 5.10
Section 5.10 Explosive Atmospheres
Test Data and Report
Manufacturer:
| Model: | Serial Number:
Requirement: | The manufacturer shall state as to whether the BRD is certified for use in explosive atmospheres. If certification is claimed, documentation shall be provided. Certification should be based on UL-913, or equivalent standard.
Note: | Comments are required when the requirement is not verified.
|  |  | Yes | No
Does the manufacturer provided documentation state whether or not the monitor is suitable for use in explosive atmospheres?
Has a certificate of compliance been provided based on testing done in accordance with UL-913?
Comments:
| Completed by: |  | Date:
| Reviewed by: |  | Date:
Draft 3