## Section 6.11
Section 6.11 Networked Area Monitors
Test Data and Report
Manufacturer:
Model: |  |  |  |  | Serial Number:
Model: |  |  |  |  | Serial Number:
Model: |  |  |  |  | Serial Number:
Control Station:
Requirement: | BRDs may be designed to individually and collectively communicate to a central control station to permit large area monitoring. If this capability is provided, the manufacturer shall provide maximum distance between each BRD.
Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH | mmHg
Source Data:
Am-241
Results for Line 1 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 2 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 3 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 4 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 5 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 6 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 7 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 8 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
| Ambient Conditions: |  | °C |  | %RH | mmHg
Source Data:
Co-57
Results for Line 1 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 2 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 3 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 4 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 5 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 6 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 7 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 8 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
| Ambient Conditions: |  | °C |  | %RH | mmHg
Source Data:
Cs-137
Results for Line 1 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 2 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 3 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 4 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 5 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 6 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 7 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 8 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
| Ambient Conditions: |  | °C |  | %RH | mmHg
Source Data:
Co-60
Results for Line 1 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 2 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 3 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 4 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 5 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 6 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 7 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 8 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
| Ambient Conditions: |  | °C |  | %RH | mmHg
Source Data:
Moderated Cf-252
Results for Line 1 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 2 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 3 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 4 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 5 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 6 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 7 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Results for Line 8 (highlight regions that detected the source)
Array
| Outer Left | Outer Top |  |  | Outer Right
|  | 1 | 2 | 3
|  | 4 | 5 | 6
|  | 7 | 8 | 9
Outer Bottom
Comments:
Performed by: |  |  |  |  | Date:
Reviewed by: |  |  |  |  | Date:
Draft 3
BRD
BRD
BRD
6m
6m
3 m
3 m
3 m
6m
Line 1
Line 2
Line 3
Line 4
Line 5
Line 6
Line 7
Line 8