## Section 6.9
Section 6.9 Neutron Indication in the Presence of Photons
Test Data and Report
Manufacturer:
Model: |  |  |  | Serial Number:
Requirement: | Gamma radiation at exposure rates of up to 10 mR/h shall not trigger the neutron alarm. In addition, the BRD shall be able to detect an increase in neutron radiation while being exposed to the 10 mR/h gamma radiation field.
Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: |  | °C |  | %RH | mmHg
Source Data:
Measurement Results
|  |  | Applied gamma dose rate (60Co): |  | mR/h
Immunity of Neutron Channel to Gamma Radiation (No alarm shall activate)
| Trial Number | Gamma response | Neutron response
Did the neutron channel alarm?
|  | (add units) | (add units) | Yes | No
1
2
3
Alarm Verification when Exposed to Moderated Neutron Source (Alarm activates)
| Trial Number | Gamma response | Neutron response
Did the neutron channel alarm?
|  | (add units) | (add units) | Yes | No
1
2
3
Comments:
Performed by: |  |  |  | Date:
Reviewed by: |  |  |  | Date:
Draft 3