## Section 6.12.6
Section 6.12.6 Low Exposure Rate Identification
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
|  | Ambient Conditions: | °C | %RH | in HG
Test Equipment Used:
Identification Results
1
|  | 2 |  | Ambient Background
3
4
5
6
7
8
9
10
Number Correct
Comments:
| Completed by: |  |  | Date:
| Reviewed by: |  |  | Date:

## Sheet1
Section 6.12.6 Low Exposure Rate Identification
Data Sheet and Report
Manufacturer:
Model: |  |  | Serial Number:
Date Performed: |  |  | Test Location:
Requirement: | A BRD shall not identify a radionuclide that is not present when operated in a stable and low ambient radiation background. An indication shall also be provided stating that the field is too low to perform an identification.
Note: | Comments are required when the requirement is not verified.
| Ambient Conditions: | °C | %RH |  | mmHg
Test Results
Radionuclides identified
1
| 2 |  |  | Ambient Background |  | (add units)
3
4
5
6
7
8
9
10
# Correct
[5 empty] | Yes | No
Did BRD identify non-present radionuclidies?
Comments:
Completed by: |  |  |  | Date:
Reviewed by: |  |  |  | Date:
Draft 3