## Section 5.9
Section 5.9 Operating parameters
Test Data and Report
Manufacturer:
| Model: | Serial Number:
Requirement: | The manufacturer shall provide the list of all user-adjustable parameters (e.g., default alarm thresholds and background update mode) with a description of their function and recommended values or settings. These parameters shall be used throughout testing.
Note: | Comments are required when the requirement is not verified.
|  |  | Yes | No
Does the manufacturer-provided documentation include the list of user-adjustable parameters?
Comments:
| Completed by: |  | Date:
| Reviewed by: |  | Date:
Draft 3