## Section 5.11
Section 5.10 Explosive Atmospheres
Test Data and Report
Manufacturer:
| Model: | Serial Number:
Requirement: | A BRD shall have the ability to self-calibrate (e.g., stabilize detector gain based on temperature), monitor functionality, and diagnose malfunctions without user interaction.
Note: | Comments are required when the requirement is not verified.
|  |  | Yes | No
The BRD has the ability to self-calibrate?
The BRD has the ability to monitor functionality?
The BRD has the ability to diagnose malfuctions?
Comments:
| Completed by: |  | Date:
| Reviewed by: |  | Date:
Draft 3